EASY GUIDE TO USING A MICROSCOPE

- Turn microscope on.

- Turn objective to 10x.

Make sure condenser (below the stage) is set to 10x (see arrow on image).

- Place slide in the slideholder (make sure it is flat and secure in the holder).

- For 10x objective, turn the BIG wheel and move the slide so that it is about 1 cm from the objective (see image below).

THIS IS THE ONLY TIME YOU NEED TO USE THE COARSE FOCUS (BIG WHEEL).

- Look down the eyepiece – if you see a blurred image, use the SMALL FINE FOCUS WHEEL ONLY to adjust focus (DON’T TOUCH THE BIG WHEEL).

If after a couple turns in one direction it doesn’t come into focus, turn the wheel in the opposite direction. Look down eyepiece as you do this.

- Once in focus, move to 40x objective.

- Turn objective to 40x.

Make sure condenser is set to 40x (see arrow on image).

- Look down the eyepiece. If the image is blurred – TURN SMALL FINE FOCUS WHEEL ONLY.

If after a couple turns in one direction it doesn’t come into focus, turn the wheel in the opposite direction. Look down eyepiece as you do this.

- Once in focus, move to 100x objective (OIL IMMERSION).

- Turn objective so you have 40x objective on left and 100x objective on right (see image).

YOU WILL SEE A CIRCLE OF LIGHT ON THE SLIDE (SEE ARROW ON IMAGE) – DROP OIL DIRECTLY ONTO THE CIRCLE OF LIGHT ON THE SLIDE.

The drop of oil should be enough to fill the circle of light.

- Turn objective to 100x

The objective should now be touching the oil on the slide

Make sure condenser is set to 100x (see arrow on image).

- Look down the eyepiece – if the image is blurred, TURN THE SMALL FINE FOCUS WHEEL ONLY.

Should only need to turn small wheel towards you by a ¼ or ½ turn.

- When you are finished, wipe the oil off the 100x lens and slide using a microscope lens tissue and ethanol.

TROUBLESHOOTING:

- I CAN’T SEE ANYTHING ON 10x OBJECTIVE

- IS THE TISSUE ON THE SLIDE DIRECTLY UNDER THE OBJECTIVE?

- MAKE SURE THE SLIDE IS ABOUT 1 CM FROM THE OBJECTIVE

- IS THE CONDENSER ON 10x?

- IS LIGHT COMING THROUGH THE SLIDE

- I CAN’T SEE ANYTHING ON 40x OBJECTIVE

- IS THE CONDENSER ON 40x?

- GO BACK DOWN TO 10x OBJECTIVE AND FOCUS YOUR IMAGE ON THIS LENS; THEN GO BACK TO 40x OBJECTIVE AND USE FINE FOCUS TO FOCUS

- I HAVE DONE EVERYTHING CORRECTLY, BUT I CAN’T GET MY IMAGE TO FOCUS ON THE 40x OBJECTIVE

- THERE MIGHT BE OIL ON THE 40x OBJECTIVE. GET A WHITE MICROSCOPE TISSUE AND PUT ETHANOL ON IT – USE THIS TO WIPE OBJECTIVE AND TRY AGAIN.

- IF YOU STILL CAN’T FOCUS THE MICROSCOPE, ASK A DEMONSTRATOR OR ACADEMIC FOR HELP

- I CAN’T SEE ANYTHING USING 100x OBJECTIVE

- IS THE CONDENSER ON 100x?

- IS THE 100x OBJECTIVE TOUCHING THE OIL ON THE SLIDE?

- IF YOU STILL CAN’T FIX IT – WIPE THE OIL OFF THE SLIDE AND 100x OBJECTIVE USING THE WHITE LENS TISSUE AND ETHANOL. THEN GO BACK DOWN TO 10x OBJECTIVE AND FOCUS YOUR IMAGE ON THIS LENS; THEN GO BACK TO 40x OBJECTIVE AND USE FINE FOCUS TO FOCUS YOUR IMAGE; THEN GO BACK TO 100x OIL IMMERSION