Supplementary Figure. 1 Results of varying the annealing temperature (58, 59, 60 and 61°C) and cycle number (29, 32, 35) in the multiplex assay system using one-stage PCR.

Supplementary Figure. 2 Detection of the QC mixture from singleplex PCR to multiplex PCR using two-stage touchdown PCR (61℃-3 cycles + 59℃-32 cycles). A: single amplification of HIV; B: single amplification of HBV; C: composite amplifications of HIV and HBV; D: composite amplifications of the other 17 pairs of primers (D3S1358, D5S818, D7S820, D8S1179, D13S317, D16S539, D18S51, D21S11, CSF1PO, FGA, TH01, TPOX, vWA, D2S1338, D19S433, D12S391and amelogenin); E: composite amplifications of the all 19 pairs of primers.

Supplementary Figure. 3 Results of the human, animal, and microorganism DNA with the multiplex assay system.

Supplementary Figure. 4 Results of HIV, HBV and the common virus with the multiplex assay system in HIV loci and HBV loci.

Supplementary Figure. 5 Results of HIV-1 RNA at concentrations at concentrations ranging from 10000 IU/mL to 10 IU/mL with the multiplex assay system.

Supplementary Figure. 6 Results of HBV DNA at concentrations ranging from 1000000 IU/mL to 10 IU/mL with the multiplex assay system.

Supplementary Figure. 7 Profiles obtained by using the multiplex assay system when simultaneously detecting the two viral nucleic acids (10 IU/mL for HIV-1 RNA, 10 IU/mL for HBV DNA) and 0.2ng control DNA 2800M.

Supplementary Figure. 8 Results of control DNA 2800M ranging from 1 ng to 0.03125 ng and two viral nucleic acids (1000 IU/mL for HIV-1 RNA, 1000 IU/mL for HBV DNA)

Supplementary Figure. 9 Sensitivity study of control DNA 2800M ranging from 1 ng to 0.03125 ng with HIV-1 RNA (1000 IU/mL) and HBV DNA (1000 IU/mL). Full profiles were observed from 0.0625 to 1 ng under the threshold of 50 RFU.

Supplementary Figure. 10 Intragroup precision studies for the multiplex assay system. The highest SD was less than 0.14.

Supplementary Figure. 11 Intergroup precision studies for the multiplex assay system. The highest SD was less than 0.16.

Supplementary Figure. 12 Results of the five contrived whole blood samples and five contrived PBMC samples with the multiplex assay system.

Supplementary Figure. 13 Results of the sample from Panel C (negative sample 1 as the example).

Supplementary Figure. 14 Results of the whole blood sample from Panel A (HIV whole blood sample 1 as the example).

Supplementary Figure. 15 Results of the PBMC sample from Panel A (HIV PBMC sample 1 as the example).

Supplementary Figure. 16 Results of the plasma sample from Panel B (HBV plasma sample 1 as the example).

Supplementary Figure. 17 Results of the HBV plasma sample 9 (as the example of partial profiles).