## Slide 1: Pipetting Olympics Nottingham Trent University

## Slide 2: Session Requirements
Micro-pipettor (pipette)
Pipette tips
96 well plate
Food dyes
You’ll use these items in today’s workshop
20 ml water in universal tube
Spill tray

## Slide 3: Safety information
Please ensure your workspace is clear.
Work within the drip tray provided, to avoid spills on the tables.
We’ll be using food dyes. Please alert your tutor if you are allergic to any food dyes.
Do not consume any of the supplied materials.

## Slide 4: Pipetting Olympics
Challenge 1 – tip racking race

## Slide 5: Challenge 1: tip racking race
Tip the 96 pipette tips out of your tip box!
When your tutor starts the race, refill your tip box as fast as you can.
First box fully refilled and closed is the winner!
Notes: Possible discussion points:
lab work time management, time needed for prep before experiments
how many hours of technical prep go into each lab class
environmental cost of pre-racked tips vs re-filling ourselves

## Slide 6: Pipetting Olympics
Challenge 2 – the rainbow

## Slide 7: Challenge 2: the rainbow
This exercise is NOT a race…
Purpose: get familiar with pipetting, refine your pipetting technique.
Repetition can also be relaxing – a meditative exercise.
You are aiming for reproducible pipetting volume and a pretty picture, not the fastest finish.

## Slide 8
100 µl/well water except column 1
And leave bottom two rows empty
1
12
Work on your tray to avoid spilling liquids onto the desk. Your tutor has blue roll for mopping up minor spills, if needed.
Eject your tips into the paper cup that your tutor will provide.
Notes: Tutors might like to discuss their top tips for pipetting during this exercise e.g.
Angle of pipette
Use of elbow/other hand to stop pipette shaking
Position of tip
Ensuring tip is properly secured
First stop, 2nd stop, bubbles
Smooth action to avoid bubbles and vacuums
When to re-use a tip (repeated same substance, or down a dilution series) and when to change the tip (changing from one substance to another, or when bubbles/tip backing up)

## Slide 9
200 µl/well dye only column 1
1
12

## Slide 10
2-fold dilution series
Transfer 100 µl each time
1
12
Nicest looking plate wins!

## Slide 11: Pipetting Olympics
Challenge 3 – pixel art

## Slide 12: Challenge 3: pixel art
Use your coloured dyes and water with a fresh 96-well plate.
Can you make a recognisable image?
Best picture wins!

## Slide 13: Cleaning up
Please place all of your used tips and 96-well plates in your tutor’s bin bag and wipe up any spills.
Please leave the room clean and tidy.

## Slide 14
We are very happy for you to use these resources as you wish, however, could you please let us know when you do as we are keen to know where and how far these resources are being used.
Please email either:
Dr Jody Winter: jody.winter@ntu.ac.uk
or
Dr Bunmi Omorotionmwan: bunmi.omorotionmwan@ntu.ac.uk
Thank you!