Haemodialysis Adequacy Change Package

Introduction

‘’ Haemodialysis is a life sustaining procedure for the treatment of patients with end stage renal disease/failure (ESRD/ESRF) who opted haemodialysis modality as form of renal replacement therapy.’’(Palmer)

Dialysis adequacy is a measure of how well haemodialysis treatment is working for a patient. Dialysis adequacy can be expressed using either Kt/v or URR (urea reduction ratio) calculation. Kt/v calculation is too complicated whereas URR calculation is simple & is used in most of haemodialysis unit across U.K as per 12th annual report of renal registry. Ratio of pre-dialysis urea is compared with post-dialysis urea in URR (pre-dialysis urea – post dialysis urea x 100 divided by pre-dialysis urea).

Poor dialysis adequacy leads to development of symptoms such as nausea, vomiting, lack of appetite, tiredness and weight loss. It also can cause poorly controlled anaemia and phosphate. More importantly, poor dialysis adequacy is strongly linked to early deaths and repeated hospitalisation amongst our patients.

The Renal Association currently recommends our patients to achieve urea reduction ratio (URR) of more than 65%. According to the Renal Registry, only 2/3 of our patients manage to achieve the recommended standard for dialysis adequacy.

Dialysis adequacy is dependent on a few factors: state of vascular access, blood flow rate, size of kidney or dialyser and time on dialysis. Improving dialysis adequacy requires changes to dialysis prescription and improvement to vascular access.

Wigan Renal Unit has been asked to improve their dialysis adequacy as part of the Collaborative in Kidney Replacement Therapy. Their effort has been guided by the Expert faculty and visit to best performing units such as Newry and Derby.

Developing ideas

The improvement team in Renal Unit C was guided by the framework set by the Expert faculty:

Implementing Changes

The Collaborative in Kidney Replacement Therapy has achieved the aims - specifically Renal Unit C which has reached the aim of more than 90% of its patients achieving a urea reduction ratio (URR) of more than 65%.

This change package provides the details of changes made and implementation strategy which have helped the unit achieve its aim.

Change 1: URR protocol – Optimizing Dialysis Adequacy

Change 2: Change prescriptions during dialysis

Change 3: Monthly live reporting on URR & vascular access

Change 4: Multidisciplinary review of URR & vascular access

Change 5: Saline recirculation

Change 6: Anticoagulation protocol

Change 7: Exercise on dialysis

Change 1: URR protocol – Optimizing Dialysis Adequacy

Driver: Understanding barrier and adopting solution

Why: To standardize & uniformity to make any changes in dialysis prescription.

Who: Doctor, Unit Manager & staff nurse

What: For any procedures there are policies& protocol as per the Trust which are followed by nurses.

Where: Renal Unit C

How: MDT (Consultant, Unit Manager, Staff nurse in charge of dialysis adequacy and vascular access link nurse)unit meeting a need to develop a protocol as per Trust policy.

Collection of information & evidence as how to optimize dialysis adequacy

Developed URR Protocol in collaboration with Consultant, Unit Manager & Staff nurse in charge of dialysis adequacy and vascular access link nurse

Developed URR Protocol Flow Chart for easy understanding as how to make changes to dialysis prescription.

Monthly Staff Team Brief meeting shown to all Nurses URR Protocol Flow Chart & any comment for changes taken into consideration.

Staff Education & also one to one learning session about importance of dialysis adequacy& URR Flow Chart

Introduction of URR Protocol in to the Unit from Next Month onwards as there was no comments for any change to be done

Ensure all Staff use URR Protocol whenever making changes to dialysis prescription.

Change 2: Change prescription during dialysis

Driver: Developing leadership & workforce

Why: Changes to dialysis prescription is usually performed when doctors goes around the patients once a month. This can lead to delay.

Who: All staff nurse led by the coordinator during dialysis.

What: Nurse rounding occurs on each shift with help of daily goals which contains information on dialysis prescription and vascular access. Changes are made during nurse rounding if the prescription is inadequate.

Where: Renal Unit C

How:Staff education about the importance of monitoring of vascular access, access surveillance& dialysis adequacy as often as possible.

Daily Goal sheet to use traffic light system to high light what type of vascular access, estimated blood flow

rate, what type of vascular access ( graft or fistula or permcath) & needle size    for each patient.

Monthly Bloods specially URR if below < 65% to note down in the daily goals sheet for review during nursing rounds.

Ensure any patients URR below < 65% to review & change the dialysis prescription as per URR protocol during nursing rounds.

Document in the daily goal sheet & on isoft any changes to dialysis prescription.

Review again to ensure whether it is beneficial or not or need again review within next 2 -4 weeks.

For any vascular access problems need to contact VA Hope hospital& take their advice. Follow –up regularly if patient is for any procedure.

Change 3: Monthly reporting on URR & vascular access

Driver: Utilizing information

Why: Information on dialysis adequacy and state of vascular access was not readily available. Staff had to spend a lot of time looking through the notes to get necessary information.

Who: Staff nurse in charge of dialysis adequacy and vascular access link nurse

What: Named nurses get clear information about their patients & sit down to discuss withstaff nurse in charge of dialysis adequacy and vascular access if problems need to sort out to obtain optimal dialysis adequacy.

Where: Renal Unit C

How: Developed a template to note down all necessary information regarding vascular access & adequacy using traffic light system to high light any problems & how well other patients are doing.

Monthly audit: - in the last week or 1st week of another month of URR & vascular access.

Ensure by 1st or 2nd week report is ready

Emailing to each & every staff including Unit Manager& Doctors the monthly report with clear information what needs to be done.

Copy of URR report: - to be attached with daily goals sheet for information purpose for all staff to go through it if they have not seen their emails.

Change 4: Multidisciplinary review of URR & vascular access

Driver: Understanding barrier and adopting solution

Why: Patients often have inadequate dialysis for multiple reasons, some can be complicated.

Who: Staff nurse, unit manager & doctor.

What: Staff nurse in charge of dialysis adequacy and vascular access sits down with the unit manager and doctor to discuss vascular access and dialysis prescription. Any changes decided will be made during the MDT review.

Where: Renal Unit C

How: Ensure that monthly live report is ready within first two week by Link Nurse ( vascular access & adequacy)

Fix a day of MDT within first two weeks

Review any dialysis prescription change during nursing rounds is okay or not.

If no then review what changes need to be done? Take expert advice of doctor/unit manger into account & make the change.

Document on the isoft & also on daily goals what changes need to done. Does it need any reference to any procedure or VA Team for further intervention?

Review next month bloods & reviews any effect of the change in dialysis prescription.

Change 5: Saline recirculation pre dialysis

Driver: Understanding barrier and adopting solution

Why: Few research studies have shown that saline circulation pre dialysis for short period of time increases the effectiveness of synthetic fiber pores situated in dialyzer exposing to larger surface area for blood to circulate which means more clearance of blood from toxins.

Who: All staff nurses providing dialysis.

What: Saline circulation pre dialysis even though a simple procedure but evidence & approval is necessary to prove that it is beneficial for dialysis adequacy as staff nurses are involved in this new kind of procedure.

Where: Renal Unit C

How:

Collection of information & evidence about saline recirculation so as prepare for learning material for Staff nurses.

Select 5 patients for test of change for new procedure

As evidence take photos of dialyzer before introduction of saline circulation & after saline circulation.

Staff education: - to provide both one to one & group learning at least once in 2 weeks.

Select & teach few staffs who are motivated to learn the new procedure& assess them.

Selected staff nurses then train other remaining staff members with new procedure& assess them also.

When all staff nurses are trained with this procedure & are confident then it can cascade to all patients in the unit with this new procedure of saline recirculation.

Monthly audit: - to review the change of new procedure & effect on blood results.

Change 6: Anticoagulation protocol

Driver: Understanding barrier and adopting solution

Why: Good anticoagulation during dialysis improves blood flow and therefore improves dialysis adequacy.

Who: All staff nurse providing dialysis.

What: Anticoagulation protocol was adopted from Newry dialysis unit (see appendix). The protocol enables the staff nurse to change dose of anticoagulation after assessment of dialyzer, circuit and blood flow rate.

Where: Renal Unit C

How:

Collection of information & evidence about optimal anticoagulation therapy during hemodialysis so as prepare for learning material for Staff nurses.

Adopted Newry dialysis unit Anticoagulation protocol as they had good URR results.

Introduction of Anticoagulation assessment sheet to assess dialyzer post dialysis by staff nurses & make any changes anticoagulation prescription.

Develop teaching material for staff nurses about anticoagulation protocol, how to do assessment & importance of anticoagulation therapy in hemodialysis

Doctor changed the way of prescribing anticoagulation on prescription card so as empower staff nurse to do necessary change of prescription as per anticoagulation protocol from Newry renal unit.

Select 5 patients for test of change for new procedure

As evidence take photos of dialyzer before introduction of anticoagulation protocol & after anticoagulation protocol.

Staff education: - to provide both one to one & group learning at least once in 2 weeks.

Select & teach few staffs who are motivated to learn the new procedure & assess them.

To educate, explain & taken consent about new procedure to be introduced a part of improvement in optimal blood toxin clearance.

Selected staff nurses then train other remaining staff members with new procedure & assess them also.

When all staff nurses are trained with this procedure & are confident then it can cascade to all patients in the unit with this new procedure of anticoagulation protocol.

Monthly audit: - to review the change of new procedure & effect on blood results.

Change 7: Exercise on dialysis

Driver: Understanding barrier and adopting solution

Why: Studies have shown that exercise on dialysis improves dialysis adequacy and improve patient well-being.

Who: All patients suitable for exercise.

What: Exercise on dialysis involves health status of patients, & safety issues about safe handling of exercise bike by staff member of the unit.

Where: Renal Unit C

How: Collection of information & evidence about stationary bike exercise during& pre haemodialysis so as to prepare for learning material for Staff nurses.

PowerPoint presentation: - explains everything about exercise during which needs to be followed by all staff members

Patient’s education most important so to motivate them for exercise programme

Develop teaching material for staff nurses about, the importance ofexercise during & pre hemodialysis.

Also pre assessment of health status before patient starts on exercise.

Staff education: - to provide both one to one & group learning at least once in 2 weeks.

Look out & ask for trial purpose from the company which makes special exercise bikes for patients during dialysis.

Select 5 patients who are interested in exercise during dialysis.

Pre assessment of health status & okay from doctor of all those 5 patients who are interested in exercise

Select & teach few staffs who are motivated to learn the new procedure & assess them.

Always pre assessment vital signs check necessary before, during & after exercise documentation is necessary.

Selected staff members then train other remaining staff members with new procedure & assess them also.

When all staff members are trained with this procedure & are confident then it can cascade to all patients who are interested in exercise

All staff members of the unit needs to be involved in this patients exercise programme during dialysis

Monthly audit: - to review the change of new procedure & effect on blood

Appendix

Monthly Report-

Vascular Access & Urea Reduction Ratio

Vascular Access

| AV Fistula pt’s | Graft pt’s | Perm Cath / Tesio line pt’s | Total patient’s |
| --- | --- | --- | --- |

| AV Fistula/ Graft- No problem pt’s (Green) |  |
| --- | --- |

| AV Fistula/ Graft - Yellow | Remark’s |
| --- | --- |

| AV Fistula/ Graft-Red | Remark’s | What action taken |
| --- | --- | --- |

| Patient’s Name | Procedure/ Appointment | Date |
| --- | --- | --- |

Perm-Cath/ Tesio Line-

| Patient’s Name | Remark’s |
| --- | --- |

Any other notes for attention-

URR( UREA REDUCTION RATIO)

| URR % | > 70 | 65 - 70 | < 65 |
| --- | --- | --- | --- |
| Total No. Of Pt’s |  |  |  |

| Total No. of Pt’s | Total No. of Pt’s URR done | Total No. of Pt’s URR missed |
| --- | --- | --- |

| Missed URR Pt’s Name | Reason not done- (Remarks) |
| --- | --- |

| URR % 65 -70 Pt’s Name | Remark’s – Action Taken |
| --- | --- |

| URR % < 65 Pt’s Name | Remark’s – Plan of Action |
| --- | --- |

Any other notes for attention-

Anticoagulation protocol & assessment

Tinzaparin Protocol

For starting dose:

If fulfill 2 out of 3 criteria: Under 70 years old, Over 80 kg, 170H dialyzer -> start with 3500

If not, start with 2500

Dose titration:

2500 units

3500 units

4500 units						Streaks on dialyser

5000 units		(1000 units increase)		Clots on HD circuit

6000 units						Clots on catheter

7000 units						< 300mls/min eBFR on catheter

8000 units

9500 units

Monitor: AVF bleed time post HD, other bleeding episodes, line clotting rate

Heparin Protocol

For starting dose:

If fulfill 2 out of 3: Under 70 years old, Over 80 kg, FX10 -> start with 1200 unit infusion per hour

If not, start with 1000 unit infusion per hour

Dose titration:

1000 unit infusion per hour

1200 unit infusion per hour

1400 unit infusion per hour		(200 unit increase)		Streaks on dialyser

1600 unit infusion per hour						Clots on HD circuit

1800 unit infusion per hour						Clots on catheter

2000 unit infusion per hour						< 300mls/min eBFR on catheter

Monitor: AVF bleed time post HD, other bleeding episodes, line clotting rate

Anti-coagulation Assessment Sheet

N.B:- To assess following mentioned below points to noted

- 1.	15g & 14g needles - Blood flow should be greater or equal to 300ml/min throughout the dialysis prescription time.

- 2.	17g needles - - Blood flow should be greater or equal to 250ml/min throughout the dialysis prescription time.

- 3.	Not to assess when Injection Venofer has been given.

| Patient Name | Hosp. No |
| --- | --- |

| Date | DIALYZER ASSESSMENT | VENOUS BUBBLE TRAP | BLOOD CIRCUIT/ LINES | POST DIALYSIS AVF ANY COMPLICATION |
| --- | --- | --- | --- | --- |
|  | Clear - 1. Streaky - 2. Clotted | Clear - 1. Clots - 2. Clotted | Clear - 1. Clots - 2. Clotted | Bleeding No Yes |
| SCORE |  |  |  |  |
| TOTAL |  |  |  |  |
| ACTION TAKEN |  |  |  |  |
| Date | DIALYZER ASSESSMENT | VENOUS BUBBLE TRAP | BLOOD CIRCUIT/ LINES | POST DIALYSIS AVF ANY COMPLICATION |
|  | Clear - 1. Streaky - 2. Clotted | Clear - 1. Clots - 2. Clotted | Clear - 1. Clots - 2. Clotted | Bleeding No Yes |
| SCORE |  |  |  |  |
| TOTAL |  |  |  |  |
| ACTION TAKEN |  |  |  |  |

Teaching material

Anticoagulation and Haemodialysis

Introduction

Haemodialysis and other form of renal replacement therapies involves extracorporeal blood flow, which exposes patient’s blood to foreign materials like plastic tubing and dialysis membranes.

Clot formation is a product of evolution to ensure we do not die due to injury and bleeding. Clot formation in the human body and extracorporeal circuit is a complex process, involving different biological pathways that have cascading effect. The trigger to the process is usually injury or exposure to foreign materials.

Contact with foreign material will induce various degree of thrombogenicity (tendency for blood to clot). This in turn may initiate clotting of blood in the extracorporeal circuit, resulting in clot formation which can be significant to cause occlusion and malfunction of dialysis circuit. In addition, small non-visible clots can occur in dialysis circuit that impairs blood flow.

Greater understanding of these triggers and biological pathway has helped in the development of anti-coagulants. The aim of anti-coagulation is to prevent:

- 	Thrombosis

- 	Occlusion

- 	Malfunction of the blood circuit (either in or outside the body)

In haemodialysis, anti-coagulation is often needed to prevent clots. The anti-coagulation should be able to:

- 	Prevent clot or thrombosis during therapy

- 	No increased risk of    intra and interdialytic bleeding,

- 	Lack of other adverse effects

- 	Simple in administration

- 	Minimal monitoring requirements

- 	Cheap

Why do we need to prevent clot? Effective dialysis depends on several major factors, which include:

- 	How long the dialysis session (better toxin removal if longer)

- 	How big the artificial kidney (better toxin removal if bigger)

- 	How well blood is flowing (better toxin removal with better blood flow)

- 	Whether dialysis is interrupted (usually related to clots and flow)

Therefore, preventing clot formation in the circuit is crucial to deliver good dialysis to our patients. Good dialysis is an important factor to promote well-being and survival of our haemodialysis patients.

Use of anticoagulants during dialysis

There is 5% - 10% chance of dialysis circuit clotting when no anti-coagulation, which is significant as it means that up to 2 patients per shift can be affected. When the circuit clots, it results in loss of the dialyzer and blood tubing’s, plus loss of approximately 100 – 150 ml of blood.

There is considerable variability among regions of the world, countries and even dialysis unit about what type of anticoagulation is used during maintenance haemodialysis. Heparin remains is most common anticoagulant used during dialysis.

There are two type of heparin: (see type of heparin chart)

- 	Unfractionated    heparin (UFH)

- 	Low Molecular Weight Heparin (LMWH) - Tinzaparin is the LMWH of choice in Salford Royal Foundation Trust and the renal network.

Problems with anti-coagulation in dialysis

The main risk of anti-coagulation in dialysis is bleeding. The common way that bleeding can present is prolonged bleeding from fistula at the end of dialysis.

Rarely, serious bleeding complications can occur. These manifest with:

- 	Prolonged nose bleed

- 	Bleeding from the stomach or lower gastrointestinal tract

- 	Stroke

The risk of serious bleeding is very low, and often predictable.

Anticoagulation techniques:

There are three types of heparinisation:

- 1.	Standard    Heparinisation

- 2.	Minimal or Tight Heparinisation

- 3.	Heparin Free or No Heparin

Standard Heparinisation

This technique is used for patients who do not pose a risk of bleeding.

Minimal or Tight Heparinisation

This technique is used for patients who are at risk of bleeding, and use of heparin free dialysis has been unsuccessful due to frequent clotting.

Heparin Free or No Heparin

This technique is used for patients who are actively bleeding, who are at high risk of bleeding, or in whom the use of heparin contraindicated. The indications for heparin free dialysis are:

- 	Had previous or going for surgery within    24 hrs

- 	Sustained or suspected trauma within the previous 24 hrs

- 	Signs or suspicious of abnormal bruising

- 	Severe liver disease

- 	Recent stroke

- 	Haemophilia and other hemorrhagic disorders

- 	Thrombocytopenia

Treatment:    for heparin free dialysis

  - a)	High blood flow rate: Set the blood flow rate to maximum tolerated if possible. If high blood flow is contraindicated or cannot get it then try using small surface area dialyser and/or slowing the dialysate flow rate, or shortening the treatment sessions.

  - b)	Periodic n/saline rinse

  - 	The purpose of the periodic rinsing is to allow inspection of hollow fibre dialyzer and to allow timely discontinuation of treatment or changing of the dialyzer (extracorporeal circuit also).

  - 	Also periodic rinsing is believed by some to reduce the propensity for dialyzer clotting or interfere with clot formation.

  - 	Procedure:-

Rinse dialyzer (extracorporeal circuit) with 150-200 ml N/saline while occluding the blood inlet line (arterial line) every 15 minutes. The frequency of the flushes can be increased or decreased as needed. The use of volumetric control is desirable for the accurate removal of volumes of ultra filtrate equal to those of the administrated saline rinse.

Guidelines for assessing coagulation during haemodialysis

These are the recommended steps to help assess coagulation during haemodialysis:

  - 1.	Visual Inspection

Signs of dialysis circuit clotting are listed below. Visualisation of the circuit can be best accomplished by rinsing the system with normal saline solution.

  - a.	Extremely dark blood

  - b.	Shadows or black streaks in the dialyzer

  - c.	Foaming with subsequent clot formation in drip chambers- venous bubble trap and arterial side-mouse/header

  - 2.	Dialysis circuit pressures

Arterial and venous pressure readings may change as a result of clotting in the dialysis circuit depending on the location of clot.

  - a.	If the clotting is occurring in or distal to the venous blood chamber

  - 	An increased venous pressure & TMP reading increases gradually – rapidly.

  - b.	If the clotting is extensive, then the rise in pressure readings will be precipitous.

  - c.	A clotted    or improper position of venous needle or malfunctioned venous fistula/graft    results in increased venous pressure

  - d.	A clotted or improper position of arterial needle or malfunctioned arterial fistula/graft results in decreased arterial pressure reading

  - 3.	Dialyser appearance after dialysis

The presence of a few clotted fibres is not unusual, and the headers often collect small blood clots (red or reddish black) or whitish deposits (especially in patients with hyperlipidaemia).

Reassessment of Heparin Regime and dosing by Nurses

Ideally this should be undertaken at least 3 months and these following circumstances:

  - 1.	When clotting of blood is observed in the dialyser or blood circuit

  - 2.	When early termination of the scheduled dialysis session due to clotted circuit.

  - 3.	Fistula bleeding time in excess of 15 minutes post dialysis.

  - 4.	Poor blood flow of less than 300mls/min especially when dialysing with lines.

  - 5.	Abnormal bruising/bleeding is present.

  - 6.	When oral anticoagulation is commenced or stopped.

  - 7.	Excessive amount of saline is required for wash back

References:

  - 1	Anticoagulation and Heparin Administration - Review of Haemodialysis for Nurses and Dialysis Personnel, chapter 12 (159–167 pages) Judith Z.Kallenbach, C.F.Gutch, Martha H. Stoner, Anna L Corea : seventh edition

  - 2	Methods of Haemodialysis Anticoagulation –Handbook of Dialysis Therapy, chapter 13 (224-238 pages ) , Patrick H. Pun and Eugene C. Kovalik – 4th edition.

  - 3	Anticoagulation – Handbook of Dialysis, 4th edition, chapter 12 (205 – 218 pages ), Daugiradas, John T, Blake, Peter G, Todd S ( Andrew Davenport, KarNengLal, Joachim Hertel, Ralph J Caruana.).

  - 4	Oxford Handbook of Dialysis, 2nd Edition,    Part 2 ,    Jeremy Levy, Julie Morgon , Edwina Brown.

  - a)	Anticoagulation for continuous renal replacement therapy : Heparin

  - b)	Anticoagulation for continuous renal replacement therapy : Low Molecular Weight Heparin.

  - c)	Anticoagulation for continuous renal replacement therapy : Heparin- Free.

  - d)	Anticoagulation for continuous renal replacement therapy : regional citrate.

  - 5	Guidelines for Anticoagulation on Haemodialysis- Salford Royal Hospital NHS Trust, Department of Renal Medicine, Dr A Shrurrab, Haemodialysis Governance group.

  - 6	An Eight Week Pilot of a Nurse-Led Protocol for Tinzaparin for Intra-Dialytic Anti-Coagulation in Stable Chronic Haemodialysis Patients in a Satellite Unit, Bow,AC; Lowry M; Pearce C; Chambers, G; Sayer J; Kanagasundaram, NS Freeman Hospital, Newcastle upon Tyne

  - 7	Comparison between Tinzaparin and standard heparin for chronic haemodialysis in a Canadian centre. Am J Nephrol. 2002 Jan – Feb:22(1): 58-66 Lord H, Jean N Dumont M, Kassis J, Leblanc M

  - 8	Guidelines for Heparinisation during Haemodialysis - Haemodialysis Guidelines, Renal Services – Chapter 12, Newcastle upon Tyne Hospitals NHS Foundation Trust.

  - 9	B N F 55 – Parenteral anticoagulants – section 2.8.1

Heparin    & Tinzaparin

| Heparin | Tinzaparin |
| --- | --- |
| Heparin :- Standard or Unfractionated Molecular weight:- 15,000 Daltons (average) Unfractionated heparin is Half Life:- 60- 90 minutes Action Mechanism: - Produces its major anticoagulant effect by inactivating thrombin and activated factor x (factor Xa) through an antithrombin dependant mechanism. Contraindication :- -  Recent major trauma or surgery -  Hypersensitivity to Heparin -  Severe Liver disease ( including oesophageal varices ) -  Haemophilia and other haemorrhagic disorders, -  Thrombocytopenia ( including history of heparin induced thrombocytopenia) -  Severe Hypertension -  Recent Cerebral Haemorrhage -  Peptic Ulcer -  Acute Bacterial Endocarditis Side effects:- -  Hyperkalaemia -  Osteoporosis -  Haemorrhage -  Thrombocytopenia Hypersensitivity reactions:- -  Urticaria, -  Angioedema -  Anaphylaxis | Tinzaparin :- (LMWH) low molecular weight heparin. Used in SRFT & Renal Network. Molecular weight:- 4500 – 5000 Daltons (Mean) It is derived from unfractionated heparin either by chemical or enzymatic depolymerisation to yield fragments approximately one third the size of heparin. Half Life:- 1.5hours Action Mechanism: - reduced ability to inactivate thrombin due to smaller fragments cannot bind simultaneously to antithrombin & thrombin. Contraindication :- Same as Heparin Side effects:- Lower risk Hypersensitivity reactions:- Same as Heparin |

Exercise checklist

Exercise pre & during Haemodialysis Program Checklist

  - 1.	What is patient’s usual potassium pre-dialysis?

Below 6.5		Above 6.5

If above 6.5, refer to JH or EOR for medical review

  - 2.	Any evidence of gross fluid overload (weight gain >4kg, breathless)

Yes			No

If yes, refer to JH or EOR for medical review

  - 3.	Do patient has history of cardiac disease (heart attack, angina, peripheral vascular disease, heart failure)?

Yes			No

If yes, refer to JH or EOR for medical review

Checklist every time doing exercise on dialysis

Patient should have a break from exercising if they have:

Fever

Low or high blood sugar

Patient missed last dialysis session

Been in pain when exercising

Patient fell unwell

New SOB

Recent hospitalization – needs medical review (can be verbal depending on reason for admit)