## Albumin (13)
File Name: C:\Program Files\Bio-Rad\Bio-Plex Manager 5.0\users\Craig Miller\Results\ME Elder Vaccine Study 2 days -14 and 21.rbx
Analyte: Albumin (13)
Acquisition Date: 22-Aug-2014, 02:54 PM
Reader Serial Number: LX10008241401
Plate ID:
RP1 PMT (Volts): 645.18
RP1 Target: 16138
Analyte | Type | Well | Outlier | Description | FI | FI - Bkgd | Std Dev | Std Err | %CV | Obs Conc | Exp Conc | (Obs/Exp) * 100 | Conc in Range | Bead Count | Sampling Errors
Albumin (13) | B | A1,B1,C1,D1 | 0 |  | 2771.5 | 2771.5 | 410.44 | 205.22 | 14.81
Albumin (13) | C1 | E1,F1 | 0 | Neg | 17824.5 | 15053 | 4.95 | 3.5 | 0.03 | *** | 0 | ***
Albumin (13) | C2 | G1,H1 | 0 | Pos | 17645.5 | 14874 | 4.95 | 3.5 | 0.03 | *** | 0 | ***
Albumin (13) | X1 | A2,B2 | 0 | GDG5 (d-14) | 13652.3 | 10880.8 | 1815.5 | 1283.75 | 13.3 | ***
Albumin (13) | X2 | C2,D2 | 0 | GDI1 (d-14) | 17378.8 | 14607.3 | 657.96 | 465.25 | 3.79 | ***
Albumin (13) | X3 | E2,F2 | 0 | 4389 (d-14) | 16091 | 13319.5 | 724.08 | 512 | 4.5 | ***
Albumin (13) | X4 | G2,H2 | 0 | GDJ2 (d-14) | 16204 | 13432.5 | 386.08 | 273 | 2.38 | ***
Albumin (13) | X5 | A3,B3 | 0 | GDK5 (d-14) | 14288.5 | 11517 | 843.58 | 596.5 | 5.9 | ***
Albumin (13) | X6 | C3,D3 | 0 | GDG2 (d-14) | 22729.3 | 19957.8 | 464.92 | 328.75 | 2.05 | ***
Albumin (13) | X7 | E3,F3 | 0 | GDI6 (d-14) | 27871.5 | 25100 | 840.75 | 594.5 | 3.02 | ***
Albumin (13) | X8 | G3,H3 | 0 | GDH3 (d-14) | 26998 | 24226.5 | 2090.21 | 1478 | 7.74 | ***
Albumin (13) | X9 | A4,B4 | 0 | GDJ5 (d-14) | 23320.5 | 20549 | 3001.67 | 2122.5 | 12.87 | ***
Albumin (13) | X10 | C4,D4 | 0 | GDK1 (d-14) | 15680.3 | 12908.8 | 1313.45 | 928.75 | 8.38 | ***
Albumin (13) | X11 | E4,F4 | 0 | GDG1 (d-14) | 28452 | 25680.5 | 449.72 | 318 | 1.58 | ***
Albumin (13) | X12 | G4,H4 | 0 | GDI5 (d-14) | 21448.8 | 18677.3 | 1513.56 | 1070.25 | 7.06 | ***
Albumin (13) | X13 | A5,B5 | 0 | GDI4 (d-14) | 20015 | 17243.5 | 5362.7 | 3792 | 26.79 | ***
Albumin (13) | X14 | C5,D5 | 0 | GDJ4 (d-14) | 23802.5 | 21031 | 1860.4 | 1315.5 | 7.82 | ***
Albumin (13) | X15 | E5,F5 | 0 | GDK4 (d-14) | 21996 | 19224.5 | 354.97 | 251 | 1.61 | ***
Albumin (13) | X16 | G5,H5 | 0 | GDG6 (d-14) | 30419.3 | 27647.8 | 2011.37 | 1422.25 | 6.61 | ***
Albumin (13) | X17 | A6,B6 | 0 | GDI3 (d-14) | 20922 | 18150.5 | 7167.23 | 5068 | 34.26 | ***
Albumin (13) | X18 | C6,D6 | 0 | GDJ1 (d-14) | 30999.5 | 28228 | 854.89 | 604.5 | 2.76 | ***
Albumin (13) | X19 | E6,F6 | 0 | GDK3 (d-14) | 19896 | 17124.5 | 322.44 | 228 | 1.62 | ***
Albumin (13) | X20 | G6,H6 | 0 | GDK2 (d-14) | 19633.3 | 16861.8 | 909.69 | 643.25 | 4.63 | ***
Albumin (13) | X21 | A7,B7 | 0 | GDG5 (d21) | 14617.5 | 11846 | 610.23 | 431.5 | 4.17 | ***
Albumin (13) | X22 | C7,D7 | 0 | GDI1 (d21) | 17026.8 | 14255.3 | 648.06 | 458.25 | 3.81 | ***
Albumin (13) | X23 | E7,F7 | 0 | 4389 (d21) | 14102 | 11330.5 | 243.24 | 172 | 1.72 | ***
Albumin (13) | X24 | G7,H7 | 0 | GDJ2 (d21) | 15501 | 12729.5 | 117.38 | 83 | 0.76 | ***
Albumin (13) | X25 | A8,B8 | 0 | GDK5 (d21) | 17252 | 14480.5 | 567.1 | 401 | 3.29 | ***
Albumin (13) | X26 | C8,D8 | 0 | GDG2 (d21) | 15649.3 | 12877.8 | 4980.51 | 3521.75 | 31.83 | ***
Albumin (13) | X27 | E8,F8 | 0 | GDI6 (d21) | 28277.3 | 25505.8 | 494.62 | 349.75 | 1.75 | ***
Albumin (13) | X28 | G8,H8 | 0 | GDH3 (d21) | 23404.5 | 20633 | 3059.65 | 2163.5 | 13.07 | ***
Albumin (13) | X29 | A9,B9 | 0 | GDJ5 (d21) | 28159.3 | 25387.8 | 1053.24 | 744.75 | 3.74 | ***
Albumin (13) | X30 | C9,D9 | 0 | GDK1 (d21) | 17804.3 | 15032.8 | 213.9 | 151.25 | 1.2 | ***
Albumin (13) | X31 | E9,F9 | 0 | GDG1 (d21) | 23166.5 | 20395 | 679.53 | 480.5 | 2.93 | ***
Albumin (13) | X32 | G9,H9 | 0 | GDI5 (d21) | 26287.8 | 23516.3 | 3615.79 | 2556.75 | 13.75 | ***
Albumin (13) | X33 | A10,B10 | 0 | GDI4 (d21) | 18975 | 16203.5 | 920.65 | 651 | 4.85 | ***
Albumin (13) | X34 | C10,D10 | 0 | GDJ4 (d21) | 18772.3 | 16000.8 | 544.83 | 385.25 | 2.9 | ***
Albumin (13) | X35 | E10,F10 | 0 | GDK4 (d21) | 21025.5 | 18254 | 1144.81 | 809.5 | 5.44 | ***
Albumin (13) | X36 | G10,H10 | 0 | GDG6 (d21) | 31120.5 | 28349 | 1795.34 | 1269.5 | 5.77 | ***
Albumin (13) | X37 | A11,B11 | 0 | GDI3 (d21) | 18682.8 | 15911.3 | 9200.52 | 6505.75 | 49.25 | ***
Albumin (13) | X38 | C11,D11 | 0 | GDJ1 (d21) | 29781.3 | 27009.8 | 334.11 | 236.25 | 1.12 | ***
Albumin (13) | X39 | E11,F11 | 0 | GDK3 (d21) | 21042 | 18270.5 | 702.86 | 497 | 3.34 | ***
Albumin (13) | X40 | G11,H11 | 0 | GDK2 (d21) | 21066.5 | 18295 | 2102.23 | 1486.5 | 9.98 | ***
Analyte | Type | Well | Outlier | Description | FI | FI - Bkgd | Std Dev | Std Err | %CV | Obs Conc | Exp Conc | (Obs/Exp) * 100 | Conc in Range | Bead Count | Sampling Errors
Albumin (13) | B | A1 | 0 |  | 3365 | 3365 | [7 empty] | 169
Albumin (13) | B | B1 | 0 |  | 2726 | 2726 | [7 empty] | 154
Albumin (13) | B | C1 | 0 |  | 2519 | 2519 | [7 empty] | 161
Albumin (13) | B | D1 | 0 |  | 2476 | 2476 | [7 empty] | 133
Albumin (13) | C1 | E1 | 0 |  | 17828 | 15056.5 |  |  |  | *** | 0 | *** |  | 381
Albumin (13) | C1 | F1 | 0 |  | 17821 | 15049.5 |  |  |  | *** | 0 | *** |  | 156
Albumin (13) | C2 | G1 | 0 |  | 17649 | 14877.5 |  |  |  | *** | 0 | *** |  | 124
Albumin (13) | C2 | H1 | 0 |  | 17642 | 14870.5 |  |  |  | *** | 0 | *** |  | 189
Albumin (13) | X1 | A2 | 0 |  | 12368.5 | 9597 |  |  |  | *** |  |  |  | 182
Albumin (13) | X1 | B2 | 0 |  | 14936 | 12164.5 |  |  |  | *** |  |  |  | 184
Albumin (13) | X2 | C2 | 0 |  | 17844 | 15072.5 |  |  |  | *** |  |  |  | 135
Albumin (13) | X2 | D2 | 0 |  | 16913.5 | 14142 |  |  |  | *** |  |  |  | 134
Albumin (13) | X3 | E2 | 0 |  | 16603 | 13831.5 |  |  |  | *** |  |  |  | 187
Albumin (13) | X3 | F2 | 0 |  | 15579 | 12807.5 |  |  |  | *** |  |  |  | 229
Albumin (13) | X4 | G2 | 0 |  | 16477 | 13705.5 |  |  |  | *** |  |  |  | 186
Albumin (13) | X4 | H2 | 0 |  | 15931 | 13159.5 |  |  |  | *** |  |  |  | 186
Albumin (13) | X5 | A3 | 0 |  | 13692 | 10920.5 |  |  |  | *** |  |  |  | 155
Albumin (13) | X5 | B3 | 0 |  | 14885 | 12113.5 |  |  |  | *** |  |  |  | 137
Albumin (13) | X6 | C3 | 0 |  | 22400.5 | 19629 |  |  |  | *** |  |  |  | 132
Albumin (13) | X6 | D3 | 0 |  | 23058 | 20286.5 |  |  |  | *** |  |  |  | 155
Albumin (13) | X7 | E3 | 0 |  | 27277 | 24505.5 |  |  |  | *** |  |  |  | 47
Albumin (13) | X7 | F3 | 0 |  | 28466 | 25694.5 |  |  |  | *** |  |  |  | 102
Albumin (13) | X8 | G3 | 0 |  | 28476 | 25704.5 |  |  |  | *** |  |  |  | 151
Albumin (13) | X8 | H3 | 0 |  | 25520 | 22748.5 |  |  |  | *** |  |  |  | 129
Albumin (13) | X9 | A4 | 0 |  | 21198 | 18426.5 |  |  |  | *** |  |  |  | 168
Albumin (13) | X9 | B4 | 0 |  | 25443 | 22671.5 |  |  |  | *** |  |  |  | 154
Albumin (13) | X10 | C4 | 0 |  | 14751.5 | 11980 |  |  |  | *** |  |  |  | 172
Albumin (13) | X10 | D4 | 0 |  | 16609 | 13837.5 |  |  |  | *** |  |  |  | 166
Albumin (13) | X11 | E4 | 0 |  | 28770 | 25998.5 |  |  |  | *** |  |  |  | 123
Albumin (13) | X11 | F4 | 0 |  | 28134 | 25362.5 |  |  |  | *** |  |  |  | 151
Albumin (13) | X12 | G4 | 0 |  | 20378.5 | 17607 |  |  |  | *** |  |  |  | 232
Albumin (13) | X12 | H4 | 0 |  | 22519 | 19747.5 |  |  |  | *** |  |  |  | 131
Albumin (13) | X13 | A5 | 0 |  | 16223 | 13451.5 |  |  |  | *** |  |  |  | 158
Albumin (13) | X13 | B5 | 0 |  | 23807 | 21035.5 |  |  |  | *** |  |  |  | 160
Albumin (13) | X14 | C5 | 0 |  | 25118 | 22346.5 |  |  |  | *** |  |  |  | 133
Albumin (13) | X14 | D5 | 0 |  | 22487 | 19715.5 |  |  |  | *** |  |  |  | 159
Albumin (13) | X15 | E5 | 0 |  | 21745 | 18973.5 |  |  |  | *** |  |  |  | 155
Albumin (13) | X15 | F5 | 0 |  | 22247 | 19475.5 |  |  |  | *** |  |  |  | 154
Albumin (13) | X16 | G5 | 0 |  | 31841.5 | 29070 |  |  |  | *** |  |  |  | 100
Albumin (13) | X16 | H5 | 0 |  | 28997 | 26225.5 |  |  |  | *** |  |  |  | 111
Albumin (13) | X17 | A6 | 0 |  | 15854 | 13082.5 |  |  |  | *** |  |  |  | 123
Albumin (13) | X17 | B6 | 0 |  | 25990 | 23218.5 |  |  |  | *** |  |  |  | 145
Albumin (13) | X18 | C6 | 0 |  | 30395 | 27623.5 |  |  |  | *** |  |  |  | 94
Albumin (13) | X18 | D6 | 0 |  | 31604 | 28832.5 |  |  |  | *** |  |  |  | 100
Albumin (13) | X19 | E6 | 0 |  | 19668 | 16896.5 |  |  |  | *** |  |  |  | 181
Albumin (13) | X19 | F6 | 0 |  | 20124 | 17352.5 |  |  |  | *** |  |  |  | 144
Albumin (13) | X20 | G6 | 0 |  | 20276.5 | 17505 |  |  |  | *** |  |  |  | 164
Albumin (13) | X20 | H6 | 0 |  | 18990 | 16218.5 |  |  |  | *** |  |  |  | 169
Albumin (13) | X21 | A7 | 0 |  | 14186 | 11414.5 |  |  |  | *** |  |  |  | 337
Albumin (13) | X21 | B7 | 0 |  | 15049 | 12277.5 |  |  |  | *** |  |  |  | 187
Albumin (13) | X22 | C7 | 0 |  | 16568.5 | 13797 |  |  |  | *** |  |  |  | 184
Albumin (13) | X22 | D7 | 0 |  | 17485 | 14713.5 |  |  |  | *** |  |  |  | 150
Albumin (13) | X23 | E7 | 0 |  | 14274 | 11502.5 |  |  |  | *** |  |  |  | 192
Albumin (13) | X23 | F7 | 0 |  | 13930 | 11158.5 |  |  |  | *** |  |  |  | 365
Albumin (13) | X24 | G7 | 0 |  | 15418 | 12646.5 |  |  |  | *** |  |  |  | 313
Albumin (13) | X24 | H7 | 0 |  | 15584 | 12812.5 |  |  |  | *** |  |  |  | 257
Albumin (13) | X25 | A8 | 0 |  | 17653 | 14881.5 |  |  |  | *** |  |  |  | 131
Albumin (13) | X25 | B8 | 0 |  | 16851 | 14079.5 |  |  |  | *** |  |  |  | 181
Albumin (13) | X26 | C8 | 0 |  | 12127.5 | 9356 |  |  |  | *** |  |  |  | 174
Albumin (13) | X26 | D8 | 0 |  | 19171 | 16399.5 |  |  |  | *** |  |  |  | 159
Albumin (13) | X27 | E8 | 0 |  | 28627 | 25855.5 |  |  |  | *** |  |  |  | 100
Albumin (13) | X27 | F8 | 0 |  | 27927.5 | 25156 |  |  |  | *** |  |  |  | 154
Albumin (13) | X28 | G8 | 0 |  | 21241 | 18469.5 |  |  |  | *** |  |  |  | 163
Albumin (13) | X28 | H8 | 0 |  | 25568 | 22796.5 |  |  |  | *** |  |  |  | 171
Albumin (13) | X29 | A9 | 0 |  | 27414.5 | 24643 |  |  |  | *** |  |  |  | 204
Albumin (13) | X29 | B9 | 0 |  | 28904 | 26132.5 |  |  |  | *** |  |  |  | 169
Albumin (13) | X30 | C9 | 0 |  | 17955.5 | 15184 |  |  |  | *** |  |  |  | 148
Albumin (13) | X30 | D9 | 0 |  | 17653 | 14881.5 |  |  |  | *** |  |  |  | 166
Albumin (13) | X31 | E9 | 0 |  | 23647 | 20875.5 |  |  |  | *** |  |  |  | 189
Albumin (13) | X31 | F9 | 0 |  | 22686 | 19914.5 |  |  |  | *** |  |  |  | 131
Albumin (13) | X32 | G9 | 0 |  | 23731 | 20959.5 |  |  |  | *** |  |  |  | 185
Albumin (13) | X32 | H9 | 0 |  | 28844.5 | 26073 |  |  |  | *** |  |  |  | 170
Albumin (13) | X33 | A10 | 0 |  | 18324 | 15552.5 |  |  |  | *** |  |  |  | 140
Albumin (13) | X33 | B10 | 0 |  | 19626 | 16854.5 |  |  |  | *** |  |  |  | 189
Albumin (13) | X34 | C10 | 0 |  | 18387 | 15615.5 |  |  |  | *** |  |  |  | 202
Albumin (13) | X34 | D10 | 0 |  | 19157.5 | 16386 |  |  |  | *** |  |  |  | 192
Albumin (13) | X35 | E10 | 0 |  | 21835 | 19063.5 |  |  |  | *** |  |  |  | 163
Albumin (13) | X35 | F10 | 0 |  | 20216 | 17444.5 |  |  |  | *** |  |  |  | 237
Albumin (13) | X36 | G10 | 0 |  | 32390 | 29618.5 |  |  |  | *** |  |  |  | 100
Albumin (13) | X36 | H10 | 0 |  | 29851 | 27079.5 |  |  |  | *** |  |  |  | 299
Albumin (13) | X37 | A11 | 0 |  | 12177 | 9405.5 |  |  |  | *** |  |  |  | 128
Albumin (13) | X37 | B11 | 0 |  | 25188.5 | 22417 |  |  |  | *** |  |  |  | 138
Albumin (13) | X38 | C11 | 0 |  | 29545 | 26773.5 |  |  |  | *** |  |  |  | 117
Albumin (13) | X38 | D11 | 0 |  | 30017.5 | 27246 |  |  |  | *** |  |  |  | 144
Albumin (13) | X39 | E11 | 0 |  | 20545 | 17773.5 |  |  |  | *** |  |  |  | 142
Albumin (13) | X39 | F11 | 0 |  | 21539 | 18767.5 |  |  |  | *** |  |  |  | 178
Albumin (13) | X40 | G11 | 0 |  | 19580 | 16808.5 |  |  |  | *** |  |  |  | 134
Albumin (13) | X40 | H11 | 0 |  | 22553 | 19781.5 |  |  |  | *** |  |  |  | 183
Sampling Errors: 1 - Low bead #, 2 - Agg beads, 3 - Classify %, 4 - Region selection, 5 - Platform temperature
***Value not available / --- = Designated as an outlier
*Value extrapolated beyond standard range
OOR = Out of Range / OOR> = Out of Range Above / OOR< = Out of Range Below
Exp Conc = Expected Concentration / Obs Conc = Observed Concentration
Conc in Range = Unknown sample concentrations within range where standards recovery is 70-130%

## CD134 (46)
File Name: C:\Program Files\Bio-Rad\Bio-Plex Manager 5.0\users\Craig Miller\Results\ME Elder Vaccine Study 2 days -14 and 21.rbx
Analyte: CD134 (46)
Acquisition Date: 22-Aug-2014, 02:54 PM
Reader Serial Number: LX10008241401
Plate ID:
RP1 PMT (Volts): 645.18
RP1 Target: 16138
Analyte | Type | Well | Outlier | Description | FI | FI - Bkgd | Std Dev | Std Err | %CV | Obs Conc | Exp Conc | (Obs/Exp) * 100 | Conc in Range | Bead Count | Sampling Errors
CD134 (46) | B | A1,B1,C1,D1 | 0 |  | 83 | 83 | 4.3 | 2.15 | 5.18
CD134 (46) | C1 | E1,F1 | 0 | Neg | 102.8 | 19.8 | 1.06 | 0.75 | 1.03 | *** | 0 | ***
CD134 (46) | C2 | G1,H1 | 0 | Pos | 4684 | 4601 | 185.97 | 131.5 | 3.97 | *** | 0 | ***
CD134 (46) | X1 | A2,B2 | 0 | GDG5 (d-14) | 143.8 | 60.8 | 46.32 | 32.75 | 32.22 | ***
CD134 (46) | X2 | C2,D2 | 0 | GDI1 (d-14) | 106 | 23 | 5.66 | 4 | 5.34 | ***
CD134 (46) | X3 | E2,F2 | 0 | 4389 (d-14) | 116 | 33 | 21.21 | 15 | 18.29 | ***
CD134 (46) | X4 | G2,H2 | 0 | GDJ2 (d-14) | 115 | 32 | 9.9 | 7 | 8.61 | ***
CD134 (46) | X5 | A3,B3 | 0 | GDK5 (d-14) | 121 | 38 | 0.71 | 0.5 | 0.58 | ***
CD134 (46) | X6 | C3,D3 | 0 | GDG2 (d-14) | 125.5 | 42.5 | 6.36 | 4.5 | 5.07 | ***
CD134 (46) | X7 | E3,F3 | 0 | GDI6 (d-14) | 121.3 | 38.3 | 6.01 | 4.25 | 4.96 | ***
CD134 (46) | X8 | G3,H3 | 0 | GDH3 (d-14) | 134.8 | 51.8 | 1.06 | 0.75 | 0.79 | ***
CD134 (46) | X9 | A4,B4 | 0 | GDJ5 (d-14) | 126.3 | 43.3 | 7.42 | 5.25 | 5.88 | ***
CD134 (46) | X10 | C4,D4 | 0 | GDK1 (d-14) | 127 | 44 | 15.56 | 11 | 12.25 | ***
CD134 (46) | X11 | E4,F4 | 0 | GDG1 (d-14) | 4291.5 | 4208.5 | 66.47 | 47 | 1.55 | ***
CD134 (46) | X12 | G4,H4 | 0 | GDI5 (d-14) | 329.3 | 246.3 | 6.72 | 4.75 | 2.04 | ***
CD134 (46) | X13 | A5,B5 | 0 | GDI4 (d-14) | 1407 | 1324 | 140.01 | 99 | 9.95 | ***
CD134 (46) | X14 | C5,D5 | 0 | GDJ4 (d-14) | 148.5 | 65.5 | 5.66 | 4 | 3.81 | ***
CD134 (46) | X15 | E5,F5 | 0 | GDK4 (d-14) | 4103.5 | 4020.5 | 326.68 | 231 | 7.96 | ***
CD134 (46) | X16 | G5,H5 | 0 | GDG6 (d-14) | 20536.5 | 20453.5 | 740.34 | 523.5 | 3.6 | ***
CD134 (46) | X17 | A6,B6 | 0 | GDI3 (d-14) | 1018.5 | 935.5 | 4.95 | 3.5 | 0.49 | ***
CD134 (46) | X18 | C6,D6 | 0 | GDJ1 (d-14) | 1241 | 1158 | 63.64 | 45 | 5.13 | ***
CD134 (46) | X19 | E6,F6 | 0 | GDK3 (d-14) | 2671.3 | 2588.3 | 2.47 | 1.75 | 0.09 | ***
CD134 (46) | X20 | G6,H6 | 0 | GDK2 (d-14) | 395.3 | 312.3 | 40.66 | 28.75 | 10.29 | ***
CD134 (46) | X21 | A7,B7 | 0 | GDG5 (d21) | 112.5 | 29.5 | 5.66 | 4 | 5.03 | ***
CD134 (46) | X22 | C7,D7 | 0 | GDI1 (d21) | 110.8 | 27.8 | 1.77 | 1.25 | 1.6 | ***
CD134 (46) | X23 | E7,F7 | 0 | 4389 (d21) | 115.8 | 32.8 | 2.47 | 1.75 | 2.14 | ***
CD134 (46) | X24 | G7,H7 | 0 | GDJ2 (d21) | 104 | 21 | 5.66 | 4 | 5.44 | ***
CD134 (46) | X25 | A8,B8 | 0 | GDK5 (d21) | 96.3 | 13.3 | 17.32 | 12.25 | 18 | ***
CD134 (46) | X26 | C8,D8 | 0 | GDG2 (d21) | 139.8 | 56.8 | 20.15 | 14.25 | 14.42 | ***
CD134 (46) | X27 | E8,F8 | 0 | GDI6 (d21) | 127.3 | 44.3 | 2.47 | 1.75 | 1.94 | ***
CD134 (46) | X28 | G8,H8 | 0 | GDH3 (d21) | 127.8 | 44.8 | 3.89 | 2.75 | 3.04 | ***
CD134 (46) | X29 | A9,B9 | 0 | GDJ5 (d21) | 139.3 | 56.3 | 13.08 | 9.25 | 9.39 | ***
CD134 (46) | X30 | C9,D9 | 0 | GDK1 (d21) | 110 | 27 | 1.41 | 1 | 1.29 | ***
CD134 (46) | X31 | E9,F9 | 0 | GDG1 (d21) | 600.3 | 517.3 | 50.56 | 35.75 | 8.42 | ***
CD134 (46) | X32 | G9,H9 | 0 | GDI5 (d21) | 208.8 | 125.8 | 23.69 | 16.75 | 11.35 | ***
CD134 (46) | X33 | A10,B10 | 0 | GDI4 (d21) | 443 | 360 | 16.26 | 11.5 | 3.67 | ***
CD134 (46) | X34 | C10,D10 | 0 | GDJ4 (d21) | 121.3 | 38.3 | 0.35 | 0.25 | 0.29 | ***
CD134 (46) | X35 | E10,F10 | 0 | GDK4 (d21) | 1233.5 | 1150.5 | 67.18 | 47.5 | 5.45 | ***
CD134 (46) | X36 | G10,H10 | 0 | GDG6 (d21) | 11708 | 11625 | 190.92 | 135 | 1.63 | ***
CD134 (46) | X37 | A11,B11 | 0 | GDI3 (d21) | 1226 | 1143 | 280.01 | 198 | 22.84 | ***
CD134 (46) | X38 | C11,D11 | 0 | GDJ1 (d21) | 368 | 285 | 61.52 | 43.5 | 16.72 | ***
CD134 (46) | X39 | E11,F11 | 0 | GDK3 (d21) | 374.5 | 291.5 | 26.87 | 19 | 7.17 | ***
CD134 (46) | X40 | G11,H11 | 0 | GDK2 (d21) | 239.3 | 156.3 | 39.95 | 28.25 | 16.7 | ***
Analyte | Type | Well | Outlier | Description | FI | FI - Bkgd | Std Dev | Std Err | %CV | Obs Conc | Exp Conc | (Obs/Exp) * 100 | Conc in Range | Bead Count | Sampling Errors
CD134 (46) | B | A1 | 0 |  | 77.5 | 77.5 | [7 empty] | 146
CD134 (46) | B | B1 | 0 |  | 83.5 | 83.5 | [7 empty] | 126
CD134 (46) | B | C1 | 0 |  | 83 | 83 | [7 empty] | 107
CD134 (46) | B | D1 | 0 |  | 88 | 88 | [7 empty] | 105
CD134 (46) | C1 | E1 | 0 |  | 102 | 19 |  |  |  | *** | 0 | *** |  | 100
CD134 (46) | C1 | F1 | 0 |  | 103.5 | 20.5 |  |  |  | *** | 0 | *** |  | 100
CD134 (46) | C2 | G1 | 0 |  | 4815.5 | 4732.5 |  |  |  | *** | 0 | *** |  | 100
CD134 (46) | C2 | H1 | 0 |  | 4552.5 | 4469.5 |  |  |  | *** | 0 | *** |  | 100
CD134 (46) | X1 | A2 | 0 |  | 176.5 | 93.5 |  |  |  | *** |  |  |  | 100
CD134 (46) | X1 | B2 | 0 |  | 111 | 28 |  |  |  | *** |  |  |  | 100
CD134 (46) | X2 | C2 | 0 |  | 102 | 19 |  |  |  | *** |  |  |  | 100
CD134 (46) | X2 | D2 | 0 |  | 110 | 27 |  |  |  | *** |  |  |  | 100
CD134 (46) | X3 | E2 | 0 |  | 101 | 18 |  |  |  | *** |  |  |  | 100
CD134 (46) | X3 | F2 | 0 |  | 131 | 48 |  |  |  | *** |  |  |  | 100
CD134 (46) | X4 | G2 | 0 |  | 122 | 39 |  |  |  | *** |  |  |  | 100
CD134 (46) | X4 | H2 | 0 |  | 108 | 25 |  |  |  | *** |  |  |  | 107
CD134 (46) | X5 | A3 | 0 |  | 120.5 | 37.5 |  |  |  | *** |  |  |  | 100
CD134 (46) | X5 | B3 | 0 |  | 121.5 | 38.5 |  |  |  | *** |  |  |  | 76
CD134 (46) | X6 | C3 | 0 |  | 121 | 38 |  |  |  | *** |  |  |  | 100
CD134 (46) | X6 | D3 | 0 |  | 130 | 47 |  |  |  | *** |  |  |  | 104
CD134 (46) | X7 | E3 | 0 |  | 117 | 34 |  |  |  | *** |  |  |  | 225
CD134 (46) | X7 | F3 | 0 |  | 125.5 | 42.5 |  |  |  | *** |  |  |  | 102
CD134 (46) | X8 | G3 | 0 |  | 134 | 51 |  |  |  | *** |  |  |  | 100
CD134 (46) | X8 | H3 | 0 |  | 135.5 | 52.5 |  |  |  | *** |  |  |  | 100
CD134 (46) | X9 | A4 | 0 |  | 131.5 | 48.5 |  |  |  | *** |  |  |  | 100
CD134 (46) | X9 | B4 | 0 |  | 121 | 38 |  |  |  | *** |  |  |  | 100
CD134 (46) | X10 | C4 | 0 |  | 138 | 55 |  |  |  | *** |  |  |  | 100
CD134 (46) | X10 | D4 | 0 |  | 116 | 33 |  |  |  | *** |  |  |  | 100
CD134 (46) | X11 | E4 | 0 |  | 4338.5 | 4255.5 |  |  |  | *** |  |  |  | 100
CD134 (46) | X11 | F4 | 0 |  | 4244.5 | 4161.5 |  |  |  | *** |  |  |  | 100
CD134 (46) | X12 | G4 | 0 |  | 334 | 251 |  |  |  | *** |  |  |  | 100
CD134 (46) | X12 | H4 | 0 |  | 324.5 | 241.5 |  |  |  | *** |  |  |  | 102
CD134 (46) | X13 | A5 | 0 |  | 1308 | 1225 |  |  |  | *** |  |  |  | 100
CD134 (46) | X13 | B5 | 0 |  | 1506 | 1423 |  |  |  | *** |  |  |  | 79
CD134 (46) | X14 | C5 | 0 |  | 144.5 | 61.5 |  |  |  | *** |  |  |  | 100
CD134 (46) | X14 | D5 | 0 |  | 152.5 | 69.5 |  |  |  | *** |  |  |  | 100
CD134 (46) | X15 | E5 | 0 |  | 3872.5 | 3789.5 |  |  |  | *** |  |  |  | 100
CD134 (46) | X15 | F5 | 0 |  | 4334.5 | 4251.5 |  |  |  | *** |  |  |  | 104
CD134 (46) | X16 | G5 | 0 |  | 21060 | 20977 |  |  |  | *** |  |  |  | 106
CD134 (46) | X16 | H5 | 0 |  | 20013 | 19930 |  |  |  | *** |  |  |  | 100
CD134 (46) | X17 | A6 | 0 |  | 1015 | 932 |  |  |  | *** |  |  |  | 100
CD134 (46) | X17 | B6 | 0 |  | 1022 | 939 |  |  |  | *** |  |  |  | 100
CD134 (46) | X18 | C6 | 0 |  | 1196 | 1113 |  |  |  | *** |  |  |  | 117
CD134 (46) | X18 | D6 | 0 |  | 1286 | 1203 |  |  |  | *** |  |  |  | 166
CD134 (46) | X19 | E6 | 0 |  | 2673 | 2590 |  |  |  | *** |  |  |  | 100
CD134 (46) | X19 | F6 | 0 |  | 2669.5 | 2586.5 |  |  |  | *** |  |  |  | 100
CD134 (46) | X20 | G6 | 0 |  | 366.5 | 283.5 |  |  |  | *** |  |  |  | 114
CD134 (46) | X20 | H6 | 0 |  | 424 | 341 |  |  |  | *** |  |  |  | 103
CD134 (46) | X21 | A7 | 0 |  | 116.5 | 33.5 |  |  |  | *** |  |  |  | 100
CD134 (46) | X21 | B7 | 0 |  | 108.5 | 25.5 |  |  |  | *** |  |  |  | 100
CD134 (46) | X22 | C7 | 0 |  | 109.5 | 26.5 |  |  |  | *** |  |  |  | 100
CD134 (46) | X22 | D7 | 0 |  | 112 | 29 |  |  |  | *** |  |  |  | 100
CD134 (46) | X23 | E7 | 0 |  | 117.5 | 34.5 |  |  |  | *** |  |  |  | 100
CD134 (46) | X23 | F7 | 0 |  | 114 | 31 |  |  |  | *** |  |  |  | 100
CD134 (46) | X24 | G7 | 0 |  | 108 | 25 |  |  |  | *** |  |  |  | 91
CD134 (46) | X24 | H7 | 0 |  | 100 | 17 |  |  |  | *** |  |  |  | 100
CD134 (46) | X25 | A8 | 0 |  | 84 | 1 |  |  |  | *** |  |  |  | 103
CD134 (46) | X25 | B8 | 0 |  | 108.5 | 25.5 |  |  |  | *** |  |  |  | 100
CD134 (46) | X26 | C8 | 0 |  | 125.5 | 42.5 |  |  |  | *** |  |  |  | 100
CD134 (46) | X26 | D8 | 0 |  | 154 | 71 |  |  |  | *** |  |  |  | 100
CD134 (46) | X27 | E8 | 0 |  | 129 | 46 |  |  |  | *** |  |  |  | 101
CD134 (46) | X27 | F8 | 0 |  | 125.5 | 42.5 |  |  |  | *** |  |  |  | 106
CD134 (46) | X28 | G8 | 0 |  | 130.5 | 47.5 |  |  |  | *** |  |  |  | 100
CD134 (46) | X28 | H8 | 0 |  | 125 | 42 |  |  |  | *** |  |  |  | 118
CD134 (46) | X29 | A9 | 0 |  | 148.5 | 65.5 |  |  |  | *** |  |  |  | 100
CD134 (46) | X29 | B9 | 0 |  | 130 | 47 |  |  |  | *** |  |  |  | 100
CD134 (46) | X30 | C9 | 0 |  | 109 | 26 |  |  |  | *** |  |  |  | 112
CD134 (46) | X30 | D9 | 0 |  | 111 | 28 |  |  |  | *** |  |  |  | 128
CD134 (46) | X31 | E9 | 0 |  | 636 | 553 |  |  |  | *** |  |  |  | 100
CD134 (46) | X31 | F9 | 0 |  | 564.5 | 481.5 |  |  |  | *** |  |  |  | 100
CD134 (46) | X32 | G9 | 0 |  | 192 | 109 |  |  |  | *** |  |  |  | 135
CD134 (46) | X32 | H9 | 0 |  | 225.5 | 142.5 |  |  |  | *** |  |  |  | 100
CD134 (46) | X33 | A10 | 0 |  | 431.5 | 348.5 |  |  |  | *** |  |  |  | 104
CD134 (46) | X33 | B10 | 0 |  | 454.5 | 371.5 |  |  |  | *** |  |  |  | 100
CD134 (46) | X34 | C10 | 0 |  | 121 | 38 |  |  |  | *** |  |  |  | 100
CD134 (46) | X34 | D10 | 0 |  | 121.5 | 38.5 |  |  |  | *** |  |  |  | 100
CD134 (46) | X35 | E10 | 0 |  | 1281 | 1198 |  |  |  | *** |  |  |  | 133
CD134 (46) | X35 | F10 | 0 |  | 1186 | 1103 |  |  |  | *** |  |  |  | 100
CD134 (46) | X36 | G10 | 0 |  | 11843 | 11760 |  |  |  | *** |  |  |  | 147
CD134 (46) | X36 | H10 | 0 |  | 11573 | 11490 |  |  |  | *** |  |  |  | 100
CD134 (46) | X37 | A11 | 0 |  | 1028 | 945 |  |  |  | *** |  |  |  | 101
CD134 (46) | X37 | B11 | 0 |  | 1424 | 1341 |  |  |  | *** |  |  |  | 100
CD134 (46) | X38 | C11 | 0 |  | 324.5 | 241.5 |  |  |  | *** |  |  |  | 100
CD134 (46) | X38 | D11 | 0 |  | 411.5 | 328.5 |  |  |  | *** |  |  |  | 100
CD134 (46) | X39 | E11 | 0 |  | 393.5 | 310.5 |  |  |  | *** |  |  |  | 100
CD134 (46) | X39 | F11 | 0 |  | 355.5 | 272.5 |  |  |  | *** |  |  |  | 100
CD134 (46) | X40 | G11 | 0 |  | 211 | 128 |  |  |  | *** |  |  |  | 100
CD134 (46) | X40 | H11 | 0 |  | 267.5 | 184.5 |  |  |  | *** |  |  |  | 100
Sampling Errors: 1 - Low bead #, 2 - Agg beads, 3 - Classify %, 4 - Region selection, 5 - Platform temperature
***Value not available / --- = Designated as an outlier
*Value extrapolated beyond standard range
OOR = Out of Range / OOR> = Out of Range Above / OOR< = Out of Range Below
Exp Conc = Expected Concentration / Obs Conc = Observed Concentration
Conc in Range = Unknown sample concentrations within range where standards recovery is 70-130%

## PPR SU (43)
File Name: C:\Program Files\Bio-Rad\Bio-Plex Manager 5.0\users\Craig Miller\Results\ME Elder Vaccine Study 2 days -14 and 21.rbx
Analyte: PPR SU (43)
Acquisition Date: 22-Aug-2014, 02:54 PM
Reader Serial Number: LX10008241401
Plate ID:
RP1 PMT (Volts): 645.18
RP1 Target: 16138
Analyte | Type | Well | Outlier | Description | FI | FI - Bkgd | Std Dev | Std Err | %CV | Obs Conc | Exp Conc | (Obs/Exp) * 100 | Conc in Range | Bead Count | Sampling Errors
PPR SU (43) | B | A1,B1,C1,D1 | 0 |  | 76 | 76 | 4.06 | 2.03 | 5.34
PPR SU (43) | C1 | E1,F1 | 0 | Neg | 90.5 | 14.5 | 0.71 | 0.5 | 0.78 | *** | 0 | ***
PPR SU (43) | C2 | G1,H1 | 0 | Pos | 4795.5 | 4719.5 | 43.13 | 30.5 | 0.9 | *** | 0 | ***
PPR SU (43) | X1 | A2,B2 | 0 | GDG5 (d-14) | 100.5 | 24.5 | 19.09 | 13.5 | 19 | ***
PPR SU (43) | X2 | C2,D2 | 0 | GDI1 (d-14) | 82.5 | 6.5 | 0.71 | 0.5 | 0.86 | ***
PPR SU (43) | X3 | E2,F2 | 0 | 4389 (d-14) | 99 | 23 | 7.07 | 5 | 7.14 | ***
PPR SU (43) | X4 | G2,H2 | 0 | GDJ2 (d-14) | 81.3 | 5.3 | 0.35 | 0.25 | 0.44 | ***
PPR SU (43) | X5 | A3,B3 | 0 | GDK5 (d-14) | 92 | 16 | 2.83 | 2 | 3.07 | ***
PPR SU (43) | X6 | C3,D3 | 0 | GDG2 (d-14) | 3474.5 | 3398.5 | 119.5 | 84.5 | 3.44 | ***
PPR SU (43) | X7 | E3,F3 | 0 | GDI6 (d-14) | 3075.3 | 2999.3 | 12.37 | 8.75 | 0.4 | ***
PPR SU (43) | X8 | G3,H3 | 0 | GDH3 (d-14) | 2595.5 | 2519.5 | 126.57 | 89.5 | 4.88 | ***
PPR SU (43) | X9 | A4,B4 | 0 | GDJ5 (d-14) | 4807 | 4731 | 5.66 | 4 | 0.12 | ***
PPR SU (43) | X10 | C4,D4 | 0 | GDK1 (d-14) | 2891 | 2815 | 176.07 | 124.5 | 6.09 | ***
PPR SU (43) | X11 | E4,F4 | 0 | GDG1 (d-14) | 3183 | 3107 | 8.49 | 6 | 0.27 | ***
PPR SU (43) | X12 | G4,H4 | 0 | GDI5 (d-14) | 2310.3 | 2234.3 | 80.96 | 57.25 | 3.5 | ***
PPR SU (43) | X13 | A5,B5 | 0 | GDI4 (d-14) | 2688 | 2612 | 400.22 | 283 | 14.89 | ***
PPR SU (43) | X14 | C5,D5 | 0 | GDJ4 (d-14) | 3182 | 3106 | 110.31 | 78 | 3.47 | ***
PPR SU (43) | X15 | E5,F5 | 0 | GDK4 (d-14) | 1356.5 | 1280.5 | 132.94 | 94 | 9.8 | ***
PPR SU (43) | X16 | G5,H5 | 0 | GDG6 (d-14) | 3124.8 | 3048.8 | 167.94 | 118.75 | 5.37 | ***
PPR SU (43) | X17 | A6,B6 | 0 | GDI3 (d-14) | 3083.5 | 3007.5 | 443.36 | 313.5 | 14.38 | ***
PPR SU (43) | X18 | C6,D6 | 0 | GDJ1 (d-14) | 3514.3 | 3438.3 | 140.36 | 99.25 | 3.99 | ***
PPR SU (43) | X19 | E6,F6 | 0 | GDK3 (d-14) | 906.5 | 830.5 | 58.69 | 41.5 | 6.47 | ***
PPR SU (43) | X20 | G6,H6 | 0 | GDK2 (d-14) | 2777 | 2701 | 10.61 | 7.5 | 0.38 | ***
PPR SU (43) | X21 | A7,B7 | 0 | GDG5 (d21) | 350 | 274 | 19.8 | 14 | 5.66 | ***
PPR SU (43) | X22 | C7,D7 | 0 | GDI1 (d21) | 334.8 | 258.8 | 3.89 | 2.75 | 1.16 | ***
PPR SU (43) | X23 | E7,F7 | 0 | 4389 (d21) | 310.5 | 234.5 | 9.19 | 6.5 | 2.96 | ***
PPR SU (43) | X24 | G7,H7 | 0 | GDJ2 (d21) | 104 | 28 | 24.04 | 17 | 23.12 | ***
PPR SU (43) | X25 | A8,B8 | 0 | GDK5 (d21) | 178.8 | 102.8 | 7.42 | 5.25 | 4.15 | ***
PPR SU (43) | X26 | C8,D8 | 0 | GDG2 (d21) | 1948.8 | 1872.8 | 744.23 | 526.25 | 38.19 | ***
PPR SU (43) | X27 | E8,F8 | 0 | GDI6 (d21) | 2600 | 2524 | 87.68 | 62 | 3.37 | ***
PPR SU (43) | X28 | G8,H8 | 0 | GDH3 (d21) | 2909 | 2833 | 107.48 | 76 | 3.69 | ***
PPR SU (43) | X29 | A9,B9 | 0 | GDJ5 (d21) | 4243.8 | 4167.8 | 136.12 | 96.25 | 3.21 | ***
PPR SU (43) | X30 | C9,D9 | 0 | GDK1 (d21) | 2776.5 | 2700.5 | 41.01 | 29 | 1.48 | ***
PPR SU (43) | X31 | E9,F9 | 0 | GDG1 (d21) | 2778.3 | 2702.3 | 7.42 | 5.25 | 0.27 | ***
PPR SU (43) | X32 | G9,H9 | 0 | GDI5 (d21) | 2642.3 | 2566.3 | 224.51 | 158.75 | 8.5 | ***
PPR SU (43) | X33 | A10,B10 | 0 | GDI4 (d21) | 2975.8 | 2899.8 | 28.64 | 20.25 | 0.96 | ***
PPR SU (43) | X34 | C10,D10 | 0 | GDJ4 (d21) | 3367 | 3291 | 138.59 | 98 | 4.12 | ***
PPR SU (43) | X35 | E10,F10 | 0 | GDK4 (d21) | 2127.5 | 2051.5 | 56.57 | 40 | 2.66 | ***
PPR SU (43) | X36 | G10,H10 | 0 | GDG6 (d21) | 2603.8 | 2527.8 | 192.69 | 136.25 | 7.4 | ***
PPR SU (43) | X37 | A11,B11 | 0 | GDI3 (d21) | 3331.8 | 3255.8 | 325.62 | 230.25 | 9.77 | ***
PPR SU (43) | X38 | C11,D11 | 0 | GDJ1 (d21) | 3163 | 3087 | 404.47 | 286 | 12.79 | ***
PPR SU (43) | X39 | E11,F11 | 0 | GDK3 (d21) | 1073 | 997 | 22.63 | 16 | 2.11 | ***
PPR SU (43) | X40 | G11,H11 | 0 | GDK2 (d21) | 3345 | 3269 | 29.7 | 21 | 0.89 | ***
Analyte | Type | Well | Outlier | Description | FI | FI - Bkgd | Std Dev | Std Err | %CV | Obs Conc | Exp Conc | (Obs/Exp) * 100 | Conc in Range | Bead Count | Sampling Errors
PPR SU (43) | B | A1 | 0 |  | 71 | 71 | [7 empty] | 100
PPR SU (43) | B | B1 | 0 |  | 74.5 | 74.5 | [7 empty] | 100
PPR SU (43) | B | C1 | 0 |  | 78.5 | 78.5 | [7 empty] | 100
PPR SU (43) | B | D1 | 0 |  | 80 | 80 | [7 empty] | 100
PPR SU (43) | C1 | E1 | 0 |  | 90 | 14 |  |  |  | *** | 0 | *** |  | 162
PPR SU (43) | C1 | F1 | 0 |  | 91 | 15 |  |  |  | *** | 0 | *** |  | 103
PPR SU (43) | C2 | G1 | 0 |  | 4826 | 4750 |  |  |  | *** | 0 | *** |  | 101
PPR SU (43) | C2 | H1 | 0 |  | 4765 | 4689 |  |  |  | *** | 0 | *** |  | 152
PPR SU (43) | X1 | A2 | 0 |  | 114 | 38 |  |  |  | *** |  |  |  | 112
PPR SU (43) | X1 | B2 | 0 |  | 87 | 11 |  |  |  | *** |  |  |  | 128
PPR SU (43) | X2 | C2 | 0 |  | 83 | 7 |  |  |  | *** |  |  |  | 111
PPR SU (43) | X2 | D2 | 0 |  | 82 | 6 |  |  |  | *** |  |  |  | 101
PPR SU (43) | X3 | E2 | 0 |  | 94 | 18 |  |  |  | *** |  |  |  | 109
PPR SU (43) | X3 | F2 | 0 |  | 104 | 28 |  |  |  | *** |  |  |  | 156
PPR SU (43) | X4 | G2 | 0 |  | 81 | 5 |  |  |  | *** |  |  |  | 136
PPR SU (43) | X4 | H2 | 0 |  | 81.5 | 5.5 |  |  |  | *** |  |  |  | 100
PPR SU (43) | X5 | A3 | 0 |  | 94 | 18 |  |  |  | *** |  |  |  | 124
PPR SU (43) | X5 | B3 | 0 |  | 90 | 14 |  |  |  | *** |  |  |  | 86
PPR SU (43) | X6 | C3 | 0 |  | 3559 | 3483 |  |  |  | *** |  |  |  | 152
PPR SU (43) | X6 | D3 | 0 |  | 3390 | 3314 |  |  |  | *** |  |  |  | 100
PPR SU (43) | X7 | E3 | 0 |  | 3084 | 3008 |  |  |  | *** |  |  |  | 235
PPR SU (43) | X7 | F3 | 0 |  | 3066.5 | 2990.5 |  |  |  | *** |  |  |  | 100
PPR SU (43) | X8 | G3 | 0 |  | 2506 | 2430 |  |  |  | *** |  |  |  | 106
PPR SU (43) | X8 | H3 | 0 |  | 2685 | 2609 |  |  |  | *** |  |  |  | 105
PPR SU (43) | X9 | A4 | 0 |  | 4803 | 4727 |  |  |  | *** |  |  |  | 147
PPR SU (43) | X9 | B4 | 0 |  | 4811 | 4735 |  |  |  | *** |  |  |  | 135
PPR SU (43) | X10 | C4 | 0 |  | 2766.5 | 2690.5 |  |  |  | *** |  |  |  | 148
PPR SU (43) | X10 | D4 | 0 |  | 3015.5 | 2939.5 |  |  |  | *** |  |  |  | 116
PPR SU (43) | X11 | E4 | 0 |  | 3177 | 3101 |  |  |  | *** |  |  |  | 117
PPR SU (43) | X11 | F4 | 0 |  | 3189 | 3113 |  |  |  | *** |  |  |  | 120
PPR SU (43) | X12 | G4 | 0 |  | 2253 | 2177 |  |  |  | *** |  |  |  | 129
PPR SU (43) | X12 | H4 | 0 |  | 2367.5 | 2291.5 |  |  |  | *** |  |  |  | 100
PPR SU (43) | X13 | A5 | 0 |  | 2405 | 2329 |  |  |  | *** |  |  |  | 129
PPR SU (43) | X13 | B5 | 0 |  | 2971 | 2895 |  |  |  | *** |  |  |  | 143
PPR SU (43) | X14 | C5 | 0 |  | 3260 | 3184 |  |  |  | *** |  |  |  | 106
PPR SU (43) | X14 | D5 | 0 |  | 3104 | 3028 |  |  |  | *** |  |  |  | 114
PPR SU (43) | X15 | E5 | 0 |  | 1262.5 | 1186.5 |  |  |  | *** |  |  |  | 100
PPR SU (43) | X15 | F5 | 0 |  | 1450.5 | 1374.5 |  |  |  | *** |  |  |  | 100
PPR SU (43) | X16 | G5 | 0 |  | 3243.5 | 3167.5 |  |  |  | *** |  |  |  | 108
PPR SU (43) | X16 | H5 | 0 |  | 3006 | 2930 |  |  |  | *** |  |  |  | 138
PPR SU (43) | X17 | A6 | 0 |  | 2770 | 2694 |  |  |  | *** |  |  |  | 119
PPR SU (43) | X17 | B6 | 0 |  | 3397 | 3321 |  |  |  | *** |  |  |  | 157
PPR SU (43) | X18 | C6 | 0 |  | 3415 | 3339 |  |  |  | *** |  |  |  | 161
PPR SU (43) | X18 | D6 | 0 |  | 3613.5 | 3537.5 |  |  |  | *** |  |  |  | 194
PPR SU (43) | X19 | E6 | 0 |  | 865 | 789 |  |  |  | *** |  |  |  | 113
PPR SU (43) | X19 | F6 | 0 |  | 948 | 872 |  |  |  | *** |  |  |  | 104
PPR SU (43) | X20 | G6 | 0 |  | 2784.5 | 2708.5 |  |  |  | *** |  |  |  | 100
PPR SU (43) | X20 | H6 | 0 |  | 2769.5 | 2693.5 |  |  |  | *** |  |  |  | 100
PPR SU (43) | X21 | A7 | 0 |  | 336 | 260 |  |  |  | *** |  |  |  | 142
PPR SU (43) | X21 | B7 | 0 |  | 364 | 288 |  |  |  | *** |  |  |  | 135
PPR SU (43) | X22 | C7 | 0 |  | 337.5 | 261.5 |  |  |  | *** |  |  |  | 102
PPR SU (43) | X22 | D7 | 0 |  | 332 | 256 |  |  |  | *** |  |  |  | 125
PPR SU (43) | X23 | E7 | 0 |  | 317 | 241 |  |  |  | *** |  |  |  | 143
PPR SU (43) | X23 | F7 | 0 |  | 304 | 228 |  |  |  | *** |  |  |  | 173
PPR SU (43) | X24 | G7 | 0 |  | 121 | 45 |  |  |  | *** |  |  |  | 145
PPR SU (43) | X24 | H7 | 0 |  | 87 | 11 |  |  |  | *** |  |  |  | 158
PPR SU (43) | X25 | A8 | 0 |  | 173.5 | 97.5 |  |  |  | *** |  |  |  | 100
PPR SU (43) | X25 | B8 | 0 |  | 184 | 108 |  |  |  | *** |  |  |  | 104
PPR SU (43) | X26 | C8 | 0 |  | 1422.5 | 1346.5 |  |  |  | *** |  |  |  | 120
PPR SU (43) | X26 | D8 | 0 |  | 2475 | 2399 |  |  |  | *** |  |  |  | 109
PPR SU (43) | X27 | E8 | 0 |  | 2662 | 2586 |  |  |  | *** |  |  |  | 125
PPR SU (43) | X27 | F8 | 0 |  | 2538 | 2462 |  |  |  | *** |  |  |  | 100
PPR SU (43) | X28 | G8 | 0 |  | 2985 | 2909 |  |  |  | *** |  |  |  | 110
PPR SU (43) | X28 | H8 | 0 |  | 2833 | 2757 |  |  |  | *** |  |  |  | 100
PPR SU (43) | X29 | A9 | 0 |  | 4340 | 4264 |  |  |  | *** |  |  |  | 142
PPR SU (43) | X29 | B9 | 0 |  | 4147.5 | 4071.5 |  |  |  | *** |  |  |  | 148
PPR SU (43) | X30 | C9 | 0 |  | 2747.5 | 2671.5 |  |  |  | *** |  |  |  | 100
PPR SU (43) | X30 | D9 | 0 |  | 2805.5 | 2729.5 |  |  |  | *** |  |  |  | 100
PPR SU (43) | X31 | E9 | 0 |  | 2773 | 2697 |  |  |  | *** |  |  |  | 122
PPR SU (43) | X31 | F9 | 0 |  | 2783.5 | 2707.5 |  |  |  | *** |  |  |  | 100
PPR SU (43) | X32 | G9 | 0 |  | 2483.5 | 2407.5 |  |  |  | *** |  |  |  | 100
PPR SU (43) | X32 | H9 | 0 |  | 2801 | 2725 |  |  |  | *** |  |  |  | 103
PPR SU (43) | X33 | A10 | 0 |  | 2996 | 2920 |  |  |  | *** |  |  |  | 100
PPR SU (43) | X33 | B10 | 0 |  | 2955.5 | 2879.5 |  |  |  | *** |  |  |  | 126
PPR SU (43) | X34 | C10 | 0 |  | 3269 | 3193 |  |  |  | *** |  |  |  | 126
PPR SU (43) | X34 | D10 | 0 |  | 3465 | 3389 |  |  |  | *** |  |  |  | 151
PPR SU (43) | X35 | E10 | 0 |  | 2167.5 | 2091.5 |  |  |  | *** |  |  |  | 100
PPR SU (43) | X35 | F10 | 0 |  | 2087.5 | 2011.5 |  |  |  | *** |  |  |  | 152
PPR SU (43) | X36 | G10 | 0 |  | 2740 | 2664 |  |  |  | *** |  |  |  | 175
PPR SU (43) | X36 | H10 | 0 |  | 2467.5 | 2391.5 |  |  |  | *** |  |  |  | 148
PPR SU (43) | X37 | A11 | 0 |  | 3101.5 | 3025.5 |  |  |  | *** |  |  |  | 100
PPR SU (43) | X37 | B11 | 0 |  | 3562 | 3486 |  |  |  | *** |  |  |  | 108
PPR SU (43) | X38 | C11 | 0 |  | 2877 | 2801 |  |  |  | *** |  |  |  | 140
PPR SU (43) | X38 | D11 | 0 |  | 3449 | 3373 |  |  |  | *** |  |  |  | 131
PPR SU (43) | X39 | E11 | 0 |  | 1089 | 1013 |  |  |  | *** |  |  |  | 114
PPR SU (43) | X39 | F11 | 0 |  | 1057 | 981 |  |  |  | *** |  |  |  | 112
PPR SU (43) | X40 | G11 | 0 |  | 3324 | 3248 |  |  |  | *** |  |  |  | 102
PPR SU (43) | X40 | H11 | 0 |  | 3366 | 3290 |  |  |  | *** |  |  |  | 125
Sampling Errors: 1 - Low bead #, 2 - Agg beads, 3 - Classify %, 4 - Region selection, 5 - Platform temperature
***Value not available / --- = Designated as an outlier
*Value extrapolated beyond standard range
OOR = Out of Range / OOR> = Out of Range Above / OOR< = Out of Range Below
Exp Conc = Expected Concentration / Obs Conc = Observed Concentration
Conc in Range = Unknown sample concentrations within range where standards recovery is 70-130%