Supplementary Information

Zinc(II) phthalocyanine containing Schiff base containing sulfonamide: Synthesis, characterization, photophysical, and photochemical properties

HAKAN ŞAHAL, MEHMET PİŞKİN*, G. ATIYE ORGAN, Ö. FARUK ÖZTÜRK*, MEHMET KAYA and

ERDAL CANPOLAT

1.1. Materials

All used chemicals were of reagent grade quality. 4-Nitrophthalonitrile, zinc(II) acetate dehydrate and 1,3-diphenylisobenzofuran (DPBF) were purchased from Merck and used as received. The solvents were purified, dried and stored over molecular sieves (4 Å). All reactions were carried out under dry and oxygen-free nitrogen atmosphere using schlenk system. All the used solvents were dried and purified as described by Perrin and Armarego [S1]. The purities of these compounds were tested in each step by TLC.

1.2. Equipment

The equipment used for novel Schiff base (1) are listed below. Elemental analyses (C, H, N, S) were carried out using a LECO-932 CHNSO by Technical and Scientific Research Council of Turkey (TUBITAK). IR spectra were recorded on a Mattson 1000 FT-IR spectrometer as KBr pellets. 1H and 13C-NMR spectra were recorded on a BRUKER GmbH Dpx-400 MHz High Performance Digital FT-NMR spectrometer. Electronic spectra were obtained on a Shimadzu 1700 UV spectrometer.

The equipment used for novel phthalonitrile compound (2) and zinc(II) phthalocyanine complex (3) are listed below. Elemental analysis was performed by the Instrumental Analysis Laboratory of TUBITAK Ankara Test and Analysis Laboratory. 1H NMR and 13C NMR spectra were recorded on a Varian XL-200 NMR spectrometer with DMSO-d6, and chemical shifts were reported (δ) relative to Me4Si (tetramethylsilane) as the internal standard [S2]. IR spectra were recorded on a Perkin-Elmer Spectrum One FT-IR spectrometer with ATR technique. The MS spectra were measured with a Thermo Quantum Access Mass spectrometer with H-ESI probe. Methanol and chloroform were used as solvents in mass analysis and all mass analysis were conducted in positive ion mode. Melting points were measured by an electro thermal apparatus. Optical spectra in the UV-vis region were recorded by a Perkin Elmer Lambda 25 spectrophotometer and a Shimadzu 2101 UV-vis spectrophotometer, using 1 cm path length cuvettes at room temperature. Fluorescence lifetimes were measured using a time correlated single photon counting setup (TCSPC) (Horiba Fluorolog 3 equipment). Fluorescence excitation and emission spectra were recorded on a Varian Eclipse spectrofluorometric using 1 cm path length cuvette at room temperature. Photo-irradiations were done using a General Electric quartz line lamp (300W). A 600 nm glass cut off filter (Schott) and a water filter were used to filter off ultraviolet and infrared radiations respectively. An interference filter (Intor, 670 nm or 700 nm with a band width of 40 nm) was additionally placed in the light path before the sample. Light intensities were measured with a POWER MAX5100 (Molelectron detector incorporated) power meter.

# 2. Photophysical parameters

## 2.1. Fluorescence quantum yields and lifetimes

Fluorescence quantum yields (ΦF) were determined in DMSO by the comparative method using equation S1 [S3, S4],

(S1)

where F and FStd are the areas under the fluorescence emission curves of the sample (3) and the standard, respectively. A and AStd are the respective absorbances of the samples and standard at the excitation wavelengths, respectively.  and are the refractive indices of solvents used for the samples and standard, respectively. Unsubstituted ZnPc (ΦF = 0.20) [S5] was employed as the standard in DMSO. The absorbance of the solutions at the excitation wavelength ranged between 0.04 and 0.05. Fluorescence lifetime measurements were performed with the FLUOROLOG-3 spectrofluorometer instrument using TCSPC technique. A NanoLED was used as a light source, and standard air cooled R928 PMT as a detector. The instrumental response function was measured with the use of Ludox® (Sigma-Aldrich) colloidal solution at excitation wavelengths of samples. Signals were acquired using a Data station FluoroHub-B single photon counting controller and data analysis was performed using the commercially available DAS 6 decay analysis software package from Horiba JobinYvon. The Goodness of fit was assessed by minimizing the reduced chi squared function, each trace contained 10000 points and the reported lifetime values are the result from at least three independent measurements [S6].

Natural radiative lifetimes ((0) were evaluated using equation S2.

(S2)

# 3. Photochemical parameters

## 3.1. Singlet oxygen quantum yields

Singlet oxygen quantum yield ((() determinations are carried out using the experimental set-up described in literature in DMSO solution [S7-S9]. Typically, a 3 mL portion of the respective standard ZnPc and sample (3) solutions (C = 1×10-5 M) containing the singlet oxygen quencher was irradiated in the Q band region with the photoirradiation set-up described in the references [S7-S9]. (( values were determined in air using the relative method with ZnPc as standard in DMSO. 1,3-Diphenylisobenzofuran (DPBF) was used as the chemical quencher for singlet oxygen [S10]. Equation S3 was employed for the determination of (( values:

(S3)

where is the singlet oxygen quantum yields for the standard ZnPc ( = 0.67 in DMSO) [S11] and R and RStd are the DPBF photobleaching rates in the presence of the respective samples (4-6) and standard, respectively. Iabs and  are the rates of light absorption by the samples and standard, respectively. To avoid chain reactions induced by quencher (DPBF) in the presence of singlet oxygen, the concentration of quencher (DPBF) was lowered to ~3×10-5 M [S12]. Solutions of sensitizer (C = 1×10-5 M) containing quencher (DPBF) were prepared in the dark and irradiated in the Q band region. DPBF degradation at 417 nm was monitored. The light intensity 6.21×1015 photons s-1 cm-2 was used for (( determinations.

## 3.2. Photodegradation quantum yields

Photodegradation quantum yield (Φd) determinations are carried out using the experimental set-up described in the literature [S7-S9]. Photodegradation quantum yields were determined using equation S4 in DMSO,

(S4)

where C0 and Ct are the samples concentrations before and after irradiation, respectively. V is the reaction volume, NA the Avogadro’s constant, S the irradiated cell area and t the irradiation time, Iabs is the overlap integral of the radiation source light intensity and the absorption of the samples. A light intensity of 2.17×1016 photons s-1 cm-2 was employed for Φd determinations.

Figure S1. IR spectrum of compound 1.

Figure S2. 1H-NMR spectrum of compound 1.

Figure S3. IR spectrum of 2.

Figure S4. 1H-NMR spectrum of 2 in DMSO-d6.

Figure S5. 13C-NMR spectrum of the novel phthalodinitrile compound 2 in DMSO-d6.

Figure S6. Mass spectra of the novel phthalodinitrile compound 2.

Figure S7. IR spectrum of the novel phthalocyanine 3.

Figure S8. 1H-NMR spectrum of the novel phthalocyanine 3 in DMSO-d6.

Figure S9. Mass spectra of the novel phthalocyanine 3.

References

[S1] 	D.D. Perin, W.L.F. Armarego, Purification of Laboratory Chemicals, Pergamon, Oxford (1989).

[S2]	H. Karaca/ J. Organomet. Chem., 822, 39 (2016).

[S3]	S. Fery-Forgues, D. Lavabre. J. Chem. Edu., 76, 1260 (1999).

[S4]	D. Maree, T. Nyokong, K. Suhling, D.I. Phillips. J. Porphyrins Phthalocyanines, 6, 373 (2002).

[S5]	A. Ogunsipe, J.Y. Chen, T. Nyokong. New J. Chem,, 28, 822 (2004).

[S6] 	J. Jankolovits, C.M. Andolina, J.W. Kampf, K.N. Raymond, V.L. Pecoraro. Angew. Chem. Int., 50, 9660 (2011).

[S7]	J.H. Brannon, D. Madge. J. Am. Chem. Soc., 102, 62 (1980).

[S8]	A. Ogunsipe, T. Nyokong. J. Photochem. Photobiol. A: Chem., 173, 211 (2005).

[S9]	I. Seotsanyana-Mokhosi, N. Kuznetsova, T. Nyokong. Photochem. Photobiol. A: Chem., 140, 215 (2001).

[S10]	M. Krieg. J. Biochem. Biophys. Methods, 27, 143 (1993).

[S11]	N. Kuznetsova, N. Gretsova, E. Kalmkova, E. Makarova, S. Dashkevich, V. Negrimovskii, O. Kaliya, E. Luk’yanets. Russ. J. Gen. Chem., 70, 133 (2000).

[S12]	W. Spiller, H. Kliesch, D. Wöhrle, S. Hackbarth, B. Roder, G. Schnurpfeil. J. Porphyrins Phthalocyanines, 2, 145 (1998).