## Data
Assessment of the Capability of an Optical Sensor for In-lLine Real-Time Wastewater Quality Analysis in Food Manufacturing
DATA
Figure 2a |  |  | Figure 2b |  |  | Figure 2c |  |  | Figure 2d |  |  | Figure 3
mLmilk L-1 | L (mm) | ln(I/Io) | mLmilk L-1 | L (mm) | ln(I/Io) | mLmilk L-1 | L (mm) | ln(I/Io) | mLmilk L-1 | L (mm) | ln(I/Io) | mLmilk L-1 | Turbidity | α |  |  |  | Figure 4a | Green (Before Filtration)
0.5 | 31 | -0.010047 | 0.5 | 31 | -0.020199 | 0.5 | 31 | -0.15436 | 0.5 | 31 | -0.15777 |  |  | NIR | Red | Green | Blue |  |  | 12 |  | 23 |  | 31 |  | 65 |  | 54 |  | 46
| 54 | -0.02745 |  | 54 | -0.043474 |  | 54 | -0.32494 |  | 54 | -0.37317 | 0.5 | 19 | 0.0004 | 0.0007 | 0.0063 | 0.0066 |  | Purite Water | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 65 | -0.022557 |  | 65 | -0.042197 |  | 65 | -0.37197 |  | 65 | -0.37529 | 1 | 40 | 0.0008 | 0.0014 | 0.0166 | 0.0177 |  | Sample A | -0.011149 | -0.013347 | -0.024925 | -0.023123 | -0.033535 | -0.03283 | -0.069039 | -0.07187 | -0.023143 | -0.057876 | -0.048107 | -0.046509
| 23 | -0.0077736 |  | 23 | -0.015261 |  | 23 | -0.11161 |  | 23 | -0.10967 | 2 | 90.6 | 0.0017 | 0.0053 | 0.035 | 0.041 |  | Sample B | -0.018495 | -0.020833 | -0.035101 | -0.038254 | -0.055416 | -0.052091 | -0.11444 | -0.12945 | -0.068368 | -0.091251 | -0.080429 | -0.074589
| 46 | -0.016884 |  | 46 | -0.034514 |  | 46 | -0.27523 |  | 46 | -0.3098 | 4 | 224 | 0.0073 | 0.0227 | 0.0576 | 0.0633 |  | Sample C | -0.012447 | -0.016503 | -0.028189 | -0.027679 | -0.047788 | -0.038125 | -0.084409 | -0.0976 | -0.037382 | -0.057537 | -0.061329 | -0.062164
| 65 | -0.0259 |  | 65 | -0.048904 |  | 65 | -0.43263 |  | 65 | -0.40899 | 8 | 617 | 0.0279 | 0.0516 | 0.0826 | 0.08 |  | Sample D | -0.015226 | -0.019332 | -0.029565 | -0.028903 | -0.046743 | -0.045692 | -0.093503 | -0.10574 | -0.054177 | -0.076562 | -0.069415 | -0.06819
| 12 | -0.003196 |  | 12 | -0.0080376 |  | 12 | -0.053337 |  | 12 | -0.050044 | 16 | 1699 | 0.0565 | 0.0631 | 0.1418 | 0.1454 |  | Sample E | -0.0037067 | -0.0062364 | -0.0090858 | -0.0097776 | -0.015789 | -0.014438 | -0.025926 | -0.037781 |  | -0.018918 | -0.018123 | -0.021502
| 46 | -0.018212 |  | 46 | -0.032977 |  | 46 | -0.2456 |  | 46 | -0.26915
| 54 | -0.016961 |  | 54 | -0.03791 |  | 54 | -0.26226 |  | 54 | -0.31958 | [6 empty] | Figure 4b | Green (After Filtration)
| 12 | -0.0046334 |  | 12 | -0.010155 |  | 12 | -0.065954 |  | 12 | -0.063594 | [8 empty] | 12 |  | 23 |  | 31 |  | 65 |  | 54 |  | 46
| 23 | -0.0087377 |  | 23 | -0.019273 |  | 23 | -0.12666 |  | 23 | -0.13775 | [7 empty] | Purite Water | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 31 | -0.011026 |  | 31 | -0.023857 |  | 31 | -0.16042 |  | 31 | -0.17829 | [7 empty] | Sample A |  | -0.001803 | -0.0030427 | -0.0056488 | -0.0061197 | -0.0037881 | -0.0095114 | -0.013739 |  |  | -0.0065338 | -0.010147
1 | 31 | -0.01789 | 1 | 31 | -0.035775 | 1 | 31 | -0.30764 | 1 | 31 | -0.32637 | [7 empty] | Sample B |  | -0.0019682 | -0.0038968 | -0.0071502 | -0.0003326 | -0.00065166 | -0.010969 | -0.0091858 |  |  | -0.006856 | -0.0062656
| 54 | -0.046501 |  | 54 | -0.08162 |  | 54 | -0.82301 |  | 54 | -0.8923 | [7 empty] | Sample C | -0.00016005 | -0.0011424 | -0.0030427 | -0.010173 | -0.0014848 | -0.0039548 | -0.018785 | -0.014249 |  |  | -0.024602 | -0.01208
| 65 | -0.044776 |  | 65 | -0.086253 |  | 65 | -0.95055 |  | 65 | -1.0248 | [7 empty] | Sample D | 0.00016003 | -0.0014726 | -0.0038968 | -0.0091599 |  | -0.0013165 | -0.012102 | -0.011036 |  |  | -0.011503 | -0.0099836
| 23 | -0.014936 |  | 23 | -0.030088 |  | 23 | -0.23333 |  | 23 | -0.24957 | [7 empty] | Sample E | -0.00016005 | 0 | -0.0062659 | -0.010004 |  | -0.0011503 | -0.014383 | -0.014746 |  |  | -0.010706 | -0.0077161
| 46 | -0.034212 |  | 46 | -0.067672 |  | 46 | -0.70246 |  | 46 | -0.6989
| 65 | -0.045989 |  | 65 | -0.092837 |  | 65 | -0.96544 |  | 65 | -1.027 | [6 empty] | Figure 4c | Blue (Before Filtration)
| 12 | -0.0070497 |  | 12 | -0.015333 |  | 12 | -0.11002 |  | 12 | -0.10786 | [8 empty] | 12 |  | 23 |  | 31 |  | 65 |  | 54 |  | 46
| 46 | -0.03376 |  | 46 | -0.062733 |  | 46 | -0.61658 |  | 46 | -0.6124 | [7 empty] | Purite Water | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 54 | -0.037891 |  | 54 | -0.080298 |  | 54 | -0.76705 |  | 54 | -0.81335 | [7 empty] | Sample A | -0.013823 | -0.013506 | -0.02543 | -0.025842 | -0.039652 | -0.035979 | -0.073199 | -0.078781 | -0.063738 | -0.068192 | -0.056521 | -0.055013
| 12 | -0.0091261 |  | 12 | -0.018121 |  | 12 | -0.12478 |  | 12 | -0.12931 | [7 empty] | Sample B | -0.021707 | -0.020664 | -0.038636 | -0.04304 | -0.064629 | -0.058012 | -0.11797 | -0.13838 | -0.10596 | -0.1077 | -0.094391 | -0.088089
| 23 | -0.016751 |  | 23 | -0.03544 |  | 23 | -0.25963 |  | 23 | -0.29378 | [7 empty] | Sample C | -0.016109 | -0.01483 | -0.030848 | -0.031146 | -0.052405 | -0.042927 | -0.089062 | -0.10247 | -0.077789 | -0.076486 | -0.069905 | -0.071508
| 31 | -0.021167 |  | 31 | -0.044245 |  | 31 | -0.35918 |  | 31 | -0.37622 | [7 empty] | Sample D | -0.018579 | -0.016659 | -0.032831 | -0.033821 | -0.053105 | -0.050096 | -0.094804 | -0.11204 | -0.089558 | -0.091 | -0.077542 | -0.078459
2 | 31 | -0.038116 | 2 | 31 | -0.074627 | 2 | 31 | -0.84057 | 2 | 31 | -0.83731 | [7 empty] | Sample E | -0.0068055 | -0.0050847 | -0.012383 | -0.013326 | -0.018621 | -0.016755 | -0.031317 | -0.035971 | -0.027201 | -0.032182 | -0.028606 | -0.027623
| 54 | -0.090856 |  | 54 | -0.23091 |  | 54 | -1.7855 |  | 54 | -2.0521
| 65 | -0.10059 |  | 65 | -0.28381 |  | 65 | -2.017 |  | 65 | -2.3176 | [6 empty] | Figure 4d | Green (After Filtration)
| 23 | -0.031425 |  | 23 | -0.060938 |  | 23 | -0.63909 |  | 23 | -0.57713 | [8 empty] | 12 |  | 23 |  | 31 |  | 65 |  | 54 |  | 46
| 46 | -0.068607 |  | 46 | -0.17472 |  | 46 | -1.5314 |  | 46 | -1.7493 | [7 empty] | Purite Water | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
| 65 | -0.10592 |  | 65 | -0.33059 |  | 65 | -2.0656 |  | 65 | -2.3362 | [7 empty] | Sample A | -0.0020704 | -0.0038524 | -0.0058574 | -0.0075427 | -0.0087377 | -0.007647 | -0.018871 | -0.020952 |  | -0.013435 | -0.012148 | -0.011921
| 12 | -0.014626 |  | 12 | -0.031059 |  | 12 | -0.22907 |  | 12 | -0.25725 | [7 empty] | Sample B | -0.0017497 | -0.002891 | -0.006516 | -0.0067145 | -0.0046858 | -0.0058529 | -0.016183 | -0.016466 |  | -0.0094127 | -0.014094 | -0.0091717
| 46 | -0.067484 |  | 46 | -0.16557 |  | 46 | -1.4445 |  | 46 | -1.6165 | [7 empty] | Sample C | -0.0031813 | -0.0020802 | -0.0063513 | -0.0083588 | -0.0079311 | -0.0081277 | -0.02276 | -0.022452 |  | -0.014558 | -0.027902 | -0.014362
| 54 | -0.08201 |  | 54 | -0.2524 |  | 54 | -1.7711 |  | 54 | -1.9844 | [7 empty] | Sample D | -0.0026997 | -0.0017561 | -0.006668 | -0.0068801 | -0.0072761 | -0.0068254 | -0.016692 | -0.019455 |  | -0.01215 | -0.02114 | -0.012411
| 12 | -0.017531 |  | 12 | -0.035919 |  | 12 | -0.24864 |  | 12 | -0.29379 | [7 empty] | Sample E | -0.00191 | 0 | -0.0069975 | -0.0067145 | -0.0071125 | -0.0061811 | -0.019041 | -0.02112 |  | -0.010855 | -0.022619 | -0.011921
| 23 | -0.03078 |  | 23 | -0.067182 |  | 23 | -0.64629 |  | 23 | -0.65895
| 31 | -0.043131 |  | 31 | -0.092144 |  | 31 | -0.91668 |  | 31 | -0.99732
4 | 31 | -0.085267 | 4 | 31 | -0.23562 | 4 | 31 | -1.8364 | 4 | 31 | -1.9897
| 54 | -0.33193 |  | 54 | -0.95183 |  | 54 | -3.3265 |  | 54 | -3.6861
| 65 | -0.40132 |  | 65 | -1.2006 |  | 65 | -3.6806 |  | 65 | -4.0361
| 23 | -0.062845 |  | 23 | -0.14837 |  | 23 | -1.425 |  | 23 | -1.5278
| 46 | -0.21202 |  | 46 | -0.65912 |  | 46 | -2.8844 |  | 46 | -3.1747
| 65 | -0.41666 |  | 65 | -1.2607 |  | 65 | -3.6806 |  | 65 | -3.9542
| 12 | -0.031944 |  | 12 | -0.064993 |  | 12 | -0.63691 |  | 12 | -0.60566
| 46 | -0.19922 |  | 46 | -0.61442 |  | 46 | -2.736 |  | 46 | -2.961
| 54 | -0.26925 |  | 54 | -0.87965 |  | 54 | -3.1636 |  | 54 | -3.4104
| 12 | -0.036041 |  | 12 | -0.073684 |  | 12 | -0.68425 |  | 12 | -0.70959
| 23 | -0.062378 |  | 23 | -0.16744 |  | 23 | -1.4606 |  | 23 | -1.641
| 31 | -0.0928 |  | 31 | -0.3106 |  | 31 | -1.9192 |  | 31 | -2.1505
8 | 31 | -0.28215 | 8 | 31 | -0.79665 | 8 | 31 | -3.1116 | 8 | 31 | -3.2665
| 54 | -1.1768 |  | 54 | -2.4123 |  | 54 | -5.3087 |  | 54 | -5.3936
| 65 | -1.5197 |  | 65 | -2.791 |  | 65 | -5.9847 |  | 65 | -6.0492
| 23 | -0.16216 |  | 23 | -0.52481 |  | 23 | -2.5378 |  | 23 | -2.6534
| 46 | -0.72203 |  | 46 | -1.9228 |  | 46 | -4.5446 |  | 46 | -4.729
| 65 | -1.4939 |  | 65 | -2.7077 |  | 65 | -5.6666 |  | 65 | -5.6829
| 12 | -0.070176 |  | 12 | -0.18976 |  | 12 | -1.4954 |  | 12 | -1.6664
| 46 | -0.67397 |  | 46 | -1.8465 |  | 46 | -4.3458 |  | 46 | -4.572
| 54 | -1.0268 |  | 54 | -2.2614 |  | 54 | -5.0168 |  | 54 | -4.9492
| 12 | -0.070176 |  | 12 | -0.18976 |  | 12 | -1.4954 |  | 12 | -1.6664
| 23 | -0.16971 |  | 23 | -0.5828 |  | 23 | -2.5887 |  | 23 | -2.7495
| 31 | -0.29751 |  | 31 | -0.95511 |  | 31 | -3.1353 |  | 31 | -3.316
16 | 31 | -0.84181 | 16 | 31 | -1.9709 | 16 | 31 | -4.5335 | 16 | 31 | -4.5652
| 54 | -2.5406 |  | 54 | -3.503 |  | 54 | -7.973 |  | 54 | -8.58
| 65 | -3.0024 |  | 65 | -3.9347 |  | 65 | -10.5697 |  | 65 | -10.5656
| 23 | -0.50321 |  | 23 | -1.3614 |  | 23 | -3.6631 |  | 23 | -3.7305
| 46 | -2.0225 |  | 46 | -3.0245 |  | 46 | -6.1587 |  | 46 | -6.0876
| 65 | -2.9258 |  | 65 | -3.7653 |  | 65 | -10.5829 |  | 65 | -11.2924
| 12 | -0.14778 |  | 12 | -0.49518 |  | 12 | -2.3965 |  | 12 | -2.4224
| 46 | -1.9207 |  | 46 | -2.9739 |  | 46 | -5.9844 |  | 46 | -5.7539
| 54 | -2.3631 |  | 54 | -3.2734 |  | 54 | -6.6129 |  | 54 | -6.2155
| 12 | -0.16408 |  | 12 | -0.56438 |  | 12 | -2.4723 |  | 12 | -2.5554
| 23 | -0.52041 |  | 23 | -1.4735 |  | 23 | -3.7261 |  | 23 | -3.8118
| 31 | -0.87768 |  | 31 | -2.0312 |  | 31 | -4.5078 |  | 31 | -4.4679