## Slide 1: Fourier ptychography using low-cost Bayer colour sensors
Tomas Aidukas, Regina Eckert, Laura Waller, Andrew R. Harvey, Pavan C. Konda
School of Physics and Astronomy,
University of Glasgow
Email: t.aidukas.1@research.gla.ac.uk

## Slide 2: Conventional microscopes are not suitable for high-throughput imaging
500-megapixel human blood image
High-throughput imaging system
Conventional microscope
Zheng, Guoan, Roarke Horstmeyer, and Changhuei Yang. "Wide-field, high-resolution Fourier ptychographic microscopy." Nature photonics 7.9 (2013): 739-745.

## Slide 3
Fourier ptychography microscopy
$100 Fourier ptychography microscopy
Zheng, Guoan, Roarke Horstmeyer, and Changhuei Yang. "Wide-field, high-resolution Fourier ptychographic microscopy." Nature photonics 7.9 (2013): 739-745.
Thorlabs EnVista scanning microscope ($60,000)
$$$
$$
$

## Slide 4
Fourier ptychography using colour sensors:
Image sparsity？
Best reconstruction algorithm？
Color channel spectral overlap ？
Sparse colour channels
Colour image
Bayer colour filter array

## Slide 5: Fourier ptychography uses angular, time-sequential illumination
0
1
2
-1
-2
0
1
2
-1
-2
Lens
Sample
Illumination source
Detector
Synthetic NA
System NA
0
1
2
-1
-2
0
1
2
-1
-2
Frequency space
Image space
Reconstruction
Central LED image

## Slide 6: Gerchberg-Saxton-type phase retrieval
Estimated wide-field, high-resolution data
FT-1
FT
Intensity
Phase
Wide-field, high-resolution data
Frequency space
Intensity I
Amplitude update

## Slide 7: Two options for image sparsity correction
?
Amplitude update
Interpolate
?
Experimental amplitude
=
=
=
?
Experimental amplitude
+
A
Binary mask
Dong S, Bian Z, Shiradkar R, Zheng G. “Sparsely sampled Fourier ptychography.” Opt Express
Demosaiced reconstruction
Sparsely sampled reconstruction

## Slide 8
Sparse colour channels
Colour image
Bayer colour filter array
Fourier ptychography using colour sensors:
Image sparsity？
Best reconstruction algorithm？
Color channel spectral overlap ？

## Slide 9
Demosaiced reconstruction:
More accurate
Better aberration recovery
Iteration number
RMS error
0.25
0.15
0.1
80
20

## Slide 10
Monochrome sensor:
Colour sensor:
x times
RMS error
1
2
3
4
Nyquist sampling theory
Sparsely sampled reconstruction
?
Demosaiced reconstruction
0.3
0.2
0.1

## Slide 11: Misalignment error correction using frequency space analysis
R. Eckert, L. Tian, and L. Waller, "Efficient illumination angle self-calibration in Fourier ptychography," ArXiv ID: 1804.03299
Monochrome image frequency space
Colour sensor image frequency space
2 x Nyquist
3 x Nyquist
On-axis illumination
Oblique illumination

## Slide 12
Sparse colour channels
Colour image
Bayer colour filter array
Fourier ptychography using colour sensors:
Image sparsity？
Best reconstruction algorithm？
Color channel spectral overlap ？

## Slide 13
Colour filter spectral transmission
Individual LEDs “leak” into all colour channels:
Reconstruct 1 colour channel matching the LED colour
Using all LEDs in parallel breaks the monochromatic assumption in FP:
Image using 1 LED colour at a time
Solution to all these problems:
Spectral demultiplexing
LED spectral bands
Pagnutti M, Ryan RE, Cazenavette G, Gold M, Harlan R, Leggett E, et al. Laying the foundation to use Raspberry Pi 3 V2 camera module imagery for scientific and engineering purposes. J Electron Imaging. 2017;26(1):13014.

## Slide 14
Sparse colour channels
Colour image
Bayer colour filter array
Fourier ptychography using colour sensors:
Image sparsity？
Best reconstruction algorithm？
Color channel spectral overlap ？

## Slide 15: Our microscope can resolve up to 870nm

## Slide 16: 25-megapixel imaging with aberration removal
Full FOV of the system
Sample: Lung carcinoma section

## Slide 17: Fourier ptychography can be performed under $100
Bulk device price <$100
Sub-micron resolution
25-megapixel imaging
Acknowledgements
Regina Eckert and Prof. Laura Waller
Victor Lovic

## Slide 18
Severe aberrations and distortions of our system can be corrected computationally
Modified embedded pupil recovery
Full FOV of the system
Sample: Lung carcinoma section