## Note
The following data was collected at Oregon State University in the Thermal Energy Systems and Transport (TEST) Laboratory during flow condensation experiments for refrigerant R1233zd(E). The experiments were conducted in a horizontal circular copper tube of 4.7mm internal diameter. Water, flowing in the annulus, was used as the coolant. The local condensation heat transfer coefficients and the associated qualities are reported at varying mass fluxes (100<G<400 kg m^-2 s^-1) and two different saturation conditions (T_sat,avg ≈ 45, and 60◦C) / The test section was divided into 7 segments. Exact length of each section is recorded below and attached figure shows visual representation of a segment. Water inlet and outlet temperature and the copper tube surface temperature are measured in each segment. The surface temperatures were measured at the center of each section using self-adhesive surface thermocouples. Using these measurements, local heat transfer coefficients and thermodynamic qualities were evaluated for each segment. This was accomplished by performing energy balances on the coolant side to determine the heat duties transferred in each section. / Summaries of the average measured values and the calculated variables are presented in the remaining sheets of this document. For more details regarding the experiments, results, and conclusions, please see cited references

Segment Length #1	0.1286	m
Segment Length #2	0.1254	m
Segment Length #3	0.1122	m
Segment Length #4	0.1154	m
Segment Length #5	0.1778	m
Segment Length #6	0.1778	m
Segment Length #7	0.1762	m
Inner Tube ID	0.0047	m
Inner Tube OD	0.0064	m
Outer Tube ID	0.0158	m
Outer Tube OD	0.0213	m
Mixer thickness	0.0033	m

## R1233zdE_data
			Measured Variables					Calculated Variables
T_w[1]	T_w[2]	T_w[3]	T_w[4]	T_w[5]	T_w[6]	T_w[7]	T_w[8]	T_w_outlet	T_r_inlet	T_water_pump	T_c[1]	T_c[2]	T_c[3]	T_c[4]	T_c[5]	T_c[6]	T_c[7]	DP	P_r	m_dot_r	V_dot_w	Water_pressure		G	T_sat	HTC_ref[1]	UCHTC[1]	HTC_ref[2]	UCHTC[2]	HTC_ref[3]	UCHTC[3]	HTC_ref[4]	UCHTC[4]	HTC_ref[5]	UCHTC[5]	HTC_ref[6]	UCHTC[6]	HTC_ref[7]	UCHTC[7]	x[1]	UCx[1]	x[2]	UCx[2]	x[3]	UCx[3]	x[4]	UCx[4]	x[5]	UCx[5]	x[6]	UCx[6]	x[7]	UCx[7]	x[8]	UCx[8]	x[9]	UCx[9]	DP	UCDP
[C]	[C]	[C]	[C]	[C]	[C]	[C]	[C]	[C]	[C]	[C]	[C]	[C]	[C]	[C]	[C]	[C]	[C]	[kPa]	[kPa]	[g/s]	[ml/s]	[kPa]		[kg/m^2-s]	[C]	[kW/m^2-k]	[kW/m^2-k]	[kW/m^2-k]	[kW/m^2-k]	[kW/m^2-k]	[kW/m^2-k]	[kW/m^2-k]	[kW/m^2-k]	[kW/m^2-k]	[kW/m^2-k]	[kW/m^2-k]	[kW/m^2-k]	[kW/m^2-k]	[kW/m^2-k]	[-]	[-]	[-]	[-]	[-]	[-]	[-]	[-]	[-]	[-]	[-]	[-]	[-]	[-]	[-]	[-]	[-]	[-]	[kPa]	[kPa]
20.27	20.43	20.47	20.47	20.53	20.69	20.92	21.43	22.32	74.14	20.41	20.78	20.69	21.09	21.46	22.03	24.37	27.52	0.25	397.26	1.85	16.50	109.48		105.69	60.59	2.18	0.11	1.87	0.10	1.25	0.10	0.67	0.10	0.25	0.08	0.21	0.10	0.09	0.11	0.9632	0	0.6929	0.01345	0.3842	0.01375	0.1401	0.01411	9999	0	9999	0	9999	0	9999	0	9999	0	2.96	0.14
15.93	16.19	16.25	16.27	16.33	16.50	16.95	17.53	18.21	94.13	16.05	16.89	16.75	17.35	17.61	19.96	22.96	24.01	1.93	378.85	3.39	37.08	149.04		193.13	58.88	4.05	0.24	3.36	0.22	2.09	0.22	1.66	0.20	0.81	0.14	0.41	0.18	0.18	0.21	9999	0	0.833	0.01638	0.5153	0.01663	0.274	0.01692	0.1055	0.01717	9999	0	9999	0	9999	0	9999	0	0.61	0.01
16.18	16.44	16.59	16.63	16.82	17.22	18.03	18.85	19.89	94.44	16.33	17.85	17.55	18.74	20.20	22.85	26.35	27.67	5.55	399.26	5.19	39.03	150.18		296.28	60.77	5.71	0.28	5.16	0.26	3.52	0.25	2.58	0.23	1.43	0.13	0.88	0.16	0.50	0.20	9999	0	0.8801	0.01136	0.5953	0.01163	0.3589	0.01199	0.1876	0.01231	0.03783	0.01263	9999	0	9999	0	9999	0	7.69	0.07
16.51	16.78	16.98	17.13	17.50	18.18	19.34	20.48	21.76	90.20	16.65	19.06	18.50	20.98	23.10	25.77	29.80	30.55	11.87	389.03	6.95	40.93	153.15		396.45	59.83	7.42	0.35	6.88	0.32	5.16	0.30	4.31	0.28	2.39	0.15	1.41	0.16	1.00	0.20	9999	0	0.9122	0.008883	0.6664	0.009139	0.4513	0.009489	0.2774	0.009849	0.1128	0.01025	9999	0	9999	0	9999	0	15.92	0.10
5.82	6.34	6.41	6.42	6.45	6.61	7.09	7.92	8.85	93.91	5.86	6.59	6.40	7.02	7.44	8.62	14.03	15.51	0.29	247.86	1.85	16.50	117.11		105.35	44.40	3.13	0.15	2.51	0.13	1.57	0.12	1.30	0.11	0.38	0.06	0.16	0.07	0.03	0.08	9999	0	0.9112	0.01275	0.5803	0.01308	0.3281	0.01346	0.1461	0.0138	0.01126	0.01408	9999	0	9999	0	9999	0	24.67	0.16
6.35	6.83	6.86	6.90	6.93	7.15	7.83	8.54	9.36	93.52	6.48	7.43	7.25	8.02	8.83	11.96	15.12	16.80	3.54	248.00	3.50	36.17	157.83		199.87	44.48	5.19	0.32	4.10	0.28	3.08	0.27	2.42	0.25	1.30	0.14	0.40	0.13	0.07	0.15	9999	0	0.96	0.01473	0.676	0.01493	0.4448	0.0152	0.2617	0.01546	0.09578	0.01575	9999	0	9999	0	9999	0	13.15	0.10
6.69	7.17	7.32	7.35	7.54	8.13	9.18	10.21	11.30	79.50	6.82	8.59	8.21	10.04	12.59	15.01	19.26	20.04	9.65	252.14	5.24	36.20	153.33		298.66	45.01	7.44	0.39	6.02	0.33	4.55	0.31	4.04	0.29	2.19	0.15	1.12	0.14	0.42	0.15	9999	0	0.9384	0.009903	0.6955	0.01012	0.4927	0.0104	0.3223	0.01071	0.1552	0.01107	0.024	0.01139	9999	0	9999	0	4.89	0.06
7.48	7.95	8.16	8.22	8.62	9.37	10.65	11.68	12.86	82.48	7.63	10.28	9.55	13.04	14.88	17.93	21.76	22.16	19.03	263.66	6.89	44.39	171.72		392.99	46.47	8.96	0.47	7.80	0.42	6.21	0.40	5.16	0.37	3.45	0.20	1.81	0.17	1.14	0.22	9999	0	0.9654	0.009268	0.735	0.009472	0.534	0.009757	0.368	0.01006	0.1941	0.01045	0.04124	0.01083	9999	0	9999	0	0.65	0.02

Key:
T_w_inlet			Water inlet temperature at the Tee fitting of the test section
T_w[#]			Water temperature along the test section
T_w_outlet			Water Outlet temperature at the Tee fitting of the test section
T_r_inlet			Refrigerant inlet temperature
T_r_outlet			Refrigerant outlet temperature
T_water_pump			Water temperature at the pump
T_c[#]			Copper tube outer surface temperature along the test section
DP			Measured refrigerant differential Pressure
P_r			Refrigerant Pressure
m_dot_r			Refrigerant mass flow rate
V_dot_w			Volumetric flow rate of water
Water_pressure			Water Pressure

G			Refrigerant mass flux
T_sat			Refrigerant saturation temperature at pressure P_r
HTC_ref[#]			Local heat transfer coefficient for segment #
UCHTC[#]			Uncertainty in local heat transfer coefficient for segment #
x[#]			Average thermodynamic quality in segment #. x1 is the evaluated average quality in the region between the coolant inlet Tee and the first RTD. x9 is the evaluated average quality in the region between the cool outlet Tee and the last RTD. 9999 values indicate single phase flow
UCx[#]			Uncertainty in thermodynamic quality for segment #
DP			Two-phase frictional pressure drop. Data points corresponding to measured pressure less than 0.5 kPa were not included due to limitations of the differential pressure transducer
UCDP			Uncertainty in the Frictional Pressure drop