## Supp Table C - analytical param
Analytical conditions of EPMA measurements of monazite and xenotime; JEOL JXA-8530F.
Session 1, Monazite + xenotime, 20 kV, 50 nA, 3 µm | [5 empty] | Session 2, Monazite only, 25 kV, 100 nA, 3 µm
Element | Signal | WDS crystal | Standard | Peak and background time (s) | Estimated detection limit (ppm) | Element | Signal | WDS crystal | Standard | Peak and background time (s) | Estimated detection limit (ppm)
P | Kα | PETJ | GdPO4(S) | 40 / 20 | 149 | P | Kα | PETJ | LaPO4(S) | 20 / 20 | 276
Si | Kα | TAP | zircon | 40 / 150 | 154 | Si | Kα | TAP | zircon | 150 / 150 | 235
Ca | Kα | PETJ | wollastonite | 40 / 20 | 47 | Ca | Kα | PETJ | wollastonite | 20 / 20 | 151
Th | Mα | PETJ | ThO2 | 40 / 60 | 207 | Zr | Lα | PETJ | zircon | 80 / 20 | 623
U | Mβ | PETJ | U | 40 / 60 | 285 | Th | Mα | PETJ | ThO2 | 60 / 60 | 726
Y | Lα | PETJ | YPO4(S) | 40 / 20 | 518 | U | Mβ | PETJ | U | 60 / 60 | 432
La | Lα | LiFL | LaPO4(S) | 20 / 20 | 221 | Y | Lα | PETJ | YPO4(S) | 20 / 20 | 947
Ce | Lα | LiFL | CePO4(S) | 20 / 20 | 191 | Nd | Lα | LiF | NdPO4(S) | 20 / 20 | 818
Pr | Lα | LiFL | PrPO4(S) | 20 / 20 | 516 | Sm | Lα | LiF | SmPO4(S) | 20 / 20 | 743
Nd | Lα | LiFL | NdPO4(S) | 20 / 20 | 185 | Eu | Lα | LiFL | REE1(S) | 20 / 20 | 157
Sm | Lα | LiFL | SmPO4(S) | 20 / 20 | 185 | Gd | Lα | LiF | GdPO4(S) | 20 / 20 | 548
Eu | Lβ | LiF | REE1(S) | 20 / 20 | 600 | Tb | Lα | LiFL | TbPO4(S) | 20 / 20 | 167
Gd | Lα | LiF | GdPO4(S) | 40 / 20 | 476 | Dy | Lα | LiF | DyPO4(S) | 30 / 30 | 473
Dy | Lα | LiF | DyPO4(S) | 40 / 20 | 379 | Ho | Lβ | LiFL | HoPO4(S) | 30 / 30 | 281
Ho | Lβ | LiF | HoPO4(S) | 40 / 20 | 804 | Er | Lα | LiF | ErPO4(S) | 30 / 30 | 443
Er | Lα | LiF | ErPO4(S) | 40 / 20 | 364 | Tm | Lα | LiFL | TmPO4(S) | 20 / 20 | 179
Yb | Lα | LiF | YbPO4(S) | 40 / 20 | 415 | Yb | Lα | LiFL | YbPO4(S) | 30 / 30 | 151
Lu | Lβ | LiFL | REE2(S) | 40 / 20 | 489 | Lu | Lβ | LiFL | REE2(S) | 20 / 20 | 427
(S) - synthetic REE phosphate calibration reference material

## Supp Table C - data
# | Mineral | Sample | Spot | Al WT% | Zr WT% | Si WT% | Y WT% | P WT% | Ca WT% | La (ppm) | Ce (ppm) | Pr (ppm) | Nd (ppm) | Sm (ppm) | Eu (ppm) | Gd (ppm) | Tb (ppm) | Dy (ppm) | Ho (ppm) | Er (ppm) | Tm (ppm) | Yb (ppm) | Lu (ppm) | Th (ppm) | U (ppm) | ΣREE WT% | ΣREE2O3 WT% | La CN | Ce CN | Pr CN | Nd CN | Sm CN | Eu CN | Gd CN | Tb CN | Dy CN | Ho CN | Er CN | Tm CN | Yb CN | Lu CN | Th CN | U CN | Gd/Yb CN | Th/U CN | Eu/Eu* CN | XY ([Y/[Y + Ce]], in mol.%)
1 | Xenotime Mineralized | GL00670 | 670-7_001 | <0.24 | <0.062 | <0.024 | 33.8696 | 14.9658 | 0.036813 | #N/A | #N/A | #N/A | 3404.784 | 7171.0231 | 2876.7717 | 32849.6274 | 7841.8081 | 65028.9999 | 9660.51 | 33878.0584 | 4796.0659 | 19614.6379 | 4101.6045 | 2205.8893 | 3964.2206 | 19.1224 | 21.9423 | #N/A | #N/A | #N/A | 7290.7581 | 46869.4317 | 49599.5124 | 159852.2013 | 209674.0132 | 256019.6848 | 170680.3885 | 204701.2591 | 188081.0172 | 115380.2229 | 161480.4914 | 76065.148 | 495527.5803 | 1.3854 | 0.1535 | 0.57302
2 | Xenotime Mineralized | GL00670 | 670-7_003 | <0.24 | <0.063 | <0.024 | 33.7341 | 14.9597 | 0.12703 | #N/A | #N/A | #N/A | 2076.5405 | 6303.49 | 2579.5339 | 31653.5906 | 7722.1809 | 61427.2304 | 8580.0416 | 31320.9729 | 4222.1348 | 18928.0689 | 3787.0274 | 10712.7082 | 8745.7563 | 17.8601 | 20.4917 | #N/A | #N/A | #N/A | 4446.5536 | 41199.2809 | 44474.7228 | 154032.0711 | 206475.4246 | 241839.4897 | 151590.8415 | 189250.5915 | 165573.9152 | 111341.5815 | 149095.5678 | 369403.731 | 1093219.5432 | 1.3834 | 0.3379 | 0.55829
3 | Xenotime Mineralized | GL00670 | 670-15_001 | <0.24 | <0.062 | <0.023 | 34.6535 | 15.1008 | 0.11871 | #N/A | #N/A | #N/A | 1218.3563 | 4250.8855 | 1899.7017 | 28018.7625 | 6880.8092 | 62408.6466 | 9095.9029 | 32532.952 | 4029.4246 | 16645.5277 | 2877.4655 | 7808.2538 | 7502.3591 | 16.9858 | 19.484 | #N/A | #N/A | #N/A | 2608.9 | 27783.5654 | 32753.4773 | 136344.3431 | 183978.8548 | 245703.333 | 160704.9983 | 196573.7283 | 158016.6494 | 97914.8688 | 113286.0422 | 269250.1327 | 937794.8936 | 1.3925 | 0.28711 | 0.53216
4 | Xenotime Mineralized | GL00670 | 670-15_003 | <0.24 | <0.062 | <0.024 | 33.8672 | 15.0698 | 0.10398 | #N/A | #N/A | #N/A | 1375.176 | 4562.101 | 2349.4657 | 31002.8893 | 7927.5831 | 63919.3213 | 8979.1045 | 31088.5218 | 4576.3985 | 18162.4082 | 4160.7272 | 8672.5478 | 7898.7108 | 17.8104 | 20.4308 | #N/A | #N/A | #N/A | 2944.7024 | 29817.6534 | 40508.0294 | 150865.6415 | 211967.4627 | 251650.8714 | 158641.4228 | 187846.0534 | 179466.6096 | 106837.6953 | 163808.1585 | 299053.3713 | 987338.8502 | 1.4121 | 0.30289 | 0.60396
5 | Xenotime Mineralized | GL00670 | 670-16_001 | <0.24 | <0.063 | <0.024 | 33.8888 | 14.8843 | 0.13784 | #N/A | #N/A | #N/A | 1392.0864 | 5792.124 | 2308.6202 | 31066.1608 | 7811.482 | 64114.6097 | 9229.6302 | 31480.9756 | 4543.132 | 18539.4426 | 3900.859 | 8941.5597 | 8605.1394 | 18.0179 | 20.6702 | #N/A | #N/A | #N/A | 2980.9131 | 37857.0197 | 39803.7968 | 151173.5319 | 208863.154 | 252419.7231 | 163067.6713 | 190217.3755 | 178162.0392 | 109055.5447 | 153577.1244 | 308329.6444 | 1075642.427 | 1.3862 | 0.28665 | 0.52615
6 | Xenotime Mineralized | GL00670 | 670-16_002 | <0.24 | <0.062 | <0.024 | 34.2056 | 14.9862 | 0.079516 | #N/A | #N/A | #N/A | 1572.419 | 5173.9668 | 2391.6986 | 30633.9456 | 8094.6736 | 67501.5267 | 9395.2242 | 31098.6919 | 4549.3716 | 18091.1326 | 4276.9695 | 4557.2029 | 5491.0987 | 18.278 | 20.9684 | #N/A | #N/A | #N/A | 3367.0643 | 33816.7766 | 41236.183 | 149070.2947 | 216435.1226 | 265754.0423 | 165993.3611 | 187907.5038 | 178406.7293 | 106418.4268 | 168384.626 | 157144.9276 | 686387.3365 | 1.4008 | 0.22894 | 0.58079
7 | Xenotime Mineralized | GL00670 | 670-16_003 | <0.24 | <0.062 | <0.024 | 34.0062 | 14.998 | 0.1514 | #N/A | #N/A | #N/A | <820 | 3747.1837 | 1866.9429 | 28416.6006 | 7447.0015 | 65438.7715 | 8835.8323 | 31031.3333 | 4036.2388 | 17987.2544 | 2904.4689 | 11944.5674 | 10425.5845 | 17.1712 | 19.6936 | #N/A | #N/A | #N/A | <1756 | 24491.3968 | 32188.6713 | 138280.2948 | 199117.6869 | 257632.9586 | 156110.1119 | 187500.5031 | 158283.8744 | 105807.379 | 114349.1712 | 411881.6353 | 1303198.0654 | 1.3069 | 0.31605 | 0.55312
8 | Xenotime Mineralized | GL00670 | 670-17_001 | <0.24 | <0.063 | <0.024 | 34.0946 | 14.8805 | 0.060846 | #N/A | #N/A | #N/A | 1768.96 | 5716.1936 | 2372.2988 | 28187.2191 | 7223.3323 | 64361.1659 | 9690.2576 | 32933.951 | 4745.6546 | 18899.439 | 4075.5971 | 9113.1352 | 7383.983 | 17.9974 | 20.6444 | #N/A | #N/A | #N/A | 3787.923 | 37360.7423 | 40901.7028 | 137164.0831 | 193137.2271 | 253390.417 | 171205.9651 | 198996.6826 | 186104.1034 | 111173.1705 | 160456.5776 | 314246.0429 | 922997.8767 | 1.2338 | 0.34046 | 0.57136
9 | Xenotime Mineralized | GL00670 | 670-17_002 | <0.24 | <0.062 | <0.024 | 33.6955 | 15.0412 | 0.024214 | #N/A | #N/A | #N/A | 1357.3024 | 4771.0005 | 2240.6465 | 32529.3627 | 7572.7486 | 69333.1744 | 9938.9346 | 35411.6189 | 4263.1691 | 19111.2729 | 3310.6522 | 3585.9611 | 4620.6671 | 18.984 | 21.7767 | #N/A | #N/A | #N/A | 2906.429 | 31183.0096 | 38631.836 | 158293.7356 | 202479.9084 | 272965.2537 | 175599.5514 | 213967.4857 | 167183.1024 | 112419.2523 | 130340.6365 | 123653.8312 | 577583.3854 | 1.4081 | 0.21409 | 0.54986
10 | Xenotime Mineralized | GL00670 | 670-17_003 | <0.24 | <0.063 | 0.28869 | 33.6691 | 14.7991 | 0.094809 | #N/A | #N/A | #N/A | 1413.0287 | 5107.012 | 2027.1336 | 30017.6766 | 7480.7607 | 66890.6146 | 9059.0195 | 32585.3197 | 3895.9496 | 18093.4662 | 2546.8054 | 9615.16 | 8271.7241 | 17.9117 | 20.5484 | #N/A | #N/A | #N/A | 3025.7575 | 33379.1635 | 34950.5793 | 146071.419 | 200020.3399 | 263348.8766 | 160053.3473 | 196890.1492 | 152782.3391 | 106432.1544 | 100267.9286 | 331557.2422 | 1033965.5143 | 1.3724 | 0.32067 | 0.50053
11 | Xenotime Mineralized | GL00670 | 670-17_004 | <0.24 | <0.063 | <0.024 | 33.7393 | 14.9306 | 0.10913 | #N/A | #N/A | #N/A | <820 | 4817.911 | 2308.1292 | 30615.3715 | 7844.4188 | 65660.5265 | 9508.7412 | 32844.084 | 4292.9327 | 17483.9296 | 3754.7067 | 10433.1247 | 9191.5369 | 17.9131 | 20.5465 | #N/A | #N/A | #N/A | <1756 | 31489.6143 | 39795.3309 | 148979.9101 | 209743.8171 | 258506.01 | 167998.9615 | 198453.68 | 168350.3033 | 102846.6448 | 147823.0965 | 359762.9204 | 1148942.1149 | 1.4486 | 0.31313 | 0.58101
12 | Xenotime Mineralized | GL00670 | 670-18_002 | <0.25 | 0.12384 | <0.024 | 33.4383 | 14.6558 | 0.30553 | #N/A | #N/A | #N/A | 1405.5844 | 4298.2963 | 2155.9417 | 29651.3918 | 7320.9516 | 60998.1179 | 8475.1539 | 29773.6148 | 3925.6792 | 17375.9289 | 3977.4508 | 19940.9814 | 14642.8198 | 16.9358 | 19.4277 | #N/A | #N/A | #N/A | 3009.8167 | 28093.4398 | 37171.4087 | 144289.0112 | 195747.368 | 240150.0705 | 149737.7013 | 179900.9956 | 153948.2052 | 102211.3463 | 156592.5528 | 687620.0478 | 1830352.4749 | 1.4117 | 0.37568 | 0.58383
13 | Xenotime Mineralized | GL00670 | 670-18_003 | <0.24 | <0.062 | <0.024 | 33.9433 | 14.9997 | 0.050619 | #N/A | #N/A | #N/A | 1540.0685 | 6170.7097 | 2725.9987 | 34841.9178 | 8758.3037 | 70100.3412 | 9474.9599 | 31433.2054 | 4479.2589 | 18115.6687 | 3280.196 | 2189.346 | 2609.654 | 19.0921 | 21.9074 | #N/A | #N/A | #N/A | 3297.7911 | 40331.4361 | 46999.977 | 169547.0452 | 234179.2436 | 275985.5952 | 167402.1188 | 189928.7334 | 175657.2113 | 106562.7573 | 129141.5746 | 75494.6906 | 326206.7514 | 1.5911 | 0.23143 | 0.56837
14 | Xenotime Mineralized | GL00684 | 684-2_001 | <0.23 | <0.061 | <0.023 | 35.2203 | 15.3291 | 0.092435 | #N/A | #N/A | #N/A | 1122.1809 | 4771.2077 | 2221.9665 | 30723.6497 | 7506.855 | 62038.4378 | 9495.9572 | 29770.5437 | 4052.8793 | 13364.8654 | 2996.626 | 2996.0838 | 3457.0551 | 16.8065 | 19.2844 | #N/A | #N/A | #N/A | 2402.957 | 31184.3642 | 38309.768 | 149506.811 | 200718.0475 | 244245.8181 | 167773.0946 | 179882.4395 | 158936.4444 | 78616.855 | 117977.4011 | 103313.2329 | 432131.8913 | 1.9017 | 0.23908 | 0.56106
15 | Xenotime Mineralized | GL00684 | 684-2_002 | <0.23 | <0.061 | <0.023 | 35.1464 | 15.2104 | 0.081768 | #N/A | #N/A | #N/A | <809 | 4921.329 | 2225.4698 | 29303.7395 | 8132.9847 | 62442.2688 | 10006.4557 | 30487.2327 | 4078.8331 | 14491.5847 | 3166.9387 | 4456.7391 | 4079.7911 | 16.9257 | 19.4171 | #N/A | #N/A | #N/A | <1732 | 32165.5488 | 38370.1692 | 142597.2726 | 217459.484 | 245835.7039 | 176792.5035 | 184212.8862 | 159954.2379 | 85244.6157 | 124682.6247 | 153680.6603 | 509973.8836 | 1.6728 | 0.30135 | 0.56656
16 | Xenotime Mineralized | GL00684 | 684-2_003 | <0.23 | 0.66142 | <0.023 | 35.4227 | 15.0436 | 0.07519 | #N/A | #N/A | #N/A | <807 | 5301.4988 | 1976.4374 | 28376.0854 | 7310.6642 | 63062.3407 | 9341.6247 | 29169.7765 | 3723.3105 | 13075.258 | 2909.3092 | 2441.3325 | 3624.7093 | 16.4246 | 18.844 | #N/A | #N/A | #N/A | <1728 | 34650.3189 | 34076.5066 | 138083.1404 | 195472.3058 | 248276.9319 | 165046.3721 | 176252.4259 | 146012.1758 | 76913.2824 | 114539.7336 | 84183.8795 | 453088.6637 | 1.7953 | 0.1858 | 0.49264
17 | Xenotime Mineralized | GL00685 | 685-1_001 | <0.24 | <0.063 | <0.025 | 33.7018 | 14.8954 | <0.015 | #N/A | #N/A | #N/A | 3265.1205 | 5885.4444 | 2421.4101 | 32368.243 | 7714.9133 | 67681.4566 | 9432.6963 | 32069.4823 | 4658.7532 | 18744.6528 | 4093.589 | 8773.7315 | 4060.0367 | 18.8336 | 21.6099 | #N/A | #N/A | #N/A | 6991.6927 | 38466.9572 | 41748.4497 | 157509.6984 | 206281.1049 | 266462.4275 | 166655.4122 | 193773.307 | 182696.2029 | 110262.6636 | 161164.9226 | 302542.4638 | 507504.5858 | 1.4285 | 0.59614 | 0.53634
18 | Xenotime Mineralized | GL00685 | 685-1_002 | <0.24 | <0.063 | <0.024 | 33.8168 | 14.8369 | 0.059775 | #N/A | #N/A | #N/A | 1382.7484 | 5379.2732 | 1941.8249 | 29462.4961 | 7159.6738 | 65286.3155 | 9240.8461 | 33014.1489 | 4409.7151 | 18605.4221 | 4319.2842 | 13980.9806 | 6282.67 | 18.0202 | 20.6698 | #N/A | #N/A | #N/A | 2960.9174 | 35158.6485 | 33479.7398 | 143369.8105 | 191435.1281 | 257032.738 | 163265.8327 | 199481.2624 | 172930.0056 | 109443.6597 | 170050.5582 | 482102.7788 | 785333.7543 | 1.31 | 0.61388 | 0.47156
19 | Xenotime Mineralized | GL00685 | 685-1_003 | <0.24 | <0.062 | <0.024 | 33.8569 | 14.9583 | 0.049582 | #N/A | #N/A | #N/A | 2318.9214 | 7111.6222 | 2448.4975 | 31947.0327 | 8095.9692 | 69495.5568 | 9094.577 | 32459.6494 | 4613.3943 | 17847.1039 | 3673.1733 | 4963.1112 | 3479.4602 | 18.9105 | 21.6991 | #N/A | #N/A | #N/A | 4965.5704 | 46481.1905 | 42215.4739 | 155460.0131 | 216469.7643 | 273604.5544 | 160681.5722 | 196130.8123 | 180917.4227 | 104982.9642 | 144613.1231 | 171141.7648 | 434932.5308 | 1.4808 | 0.39349 | 0.49662
20 | Xenotime Mineralized | GL00685 | 685-2_001 | <0.23 | <0.061 | <0.023 | 35.8267 | 14.9263 | 0.077309 | #N/A | #N/A | #N/A | <814 | 3603.4192 | 1429.2456 | 23818.2293 | 6240.6123 | 61147.2571 | 9051.5027 | 32170.8662 | 3979.71 | 16108.3642 | 2698.8125 | 9024.9345 | 6903.2278 | 16.0248 | 18.376 | #N/A | #N/A | #N/A | <1743 | 23551.7593 | 24642.1661 | 115903.7921 | 166861.2908 | 240737.2328 | 159920.5416 | 194385.8983 | 156067.0585 | 94755.0838 | 106252.4593 | 311204.6373 | 862903.4781 | 1.2232 | 0.36065 | 0.47165
21 | Xenotime Mineralized | GL00685 | 685-3_001 | <0.24 | <0.063 | <0.024 | 34.366 | 14.8563 | 0.096006 | #N/A | #N/A | #N/A | <818 | 4162.4846 | 1908.7887 | 30364.7695 | 7866.7208 | 67231.6572 | 8832.3899 | 33787.9412 | 4379.4196 | 20314.6214 | 4346.1735 | 5572.5225 | 4743.1199 | 18.3195 | 21.0082 | #N/A | #N/A | #N/A | <1752 | 27205.7819 | 32910.1497 | 147760.4355 | 210340.1276 | 264691.5639 | 156049.2919 | 204156.7443 | 171741.9457 | 119497.7728 | 171109.1936 | 192155.949 | 592889.9834 | 1.2365 | 0.3241 | 0.51906
22 | Xenotime Mineralized | GL00685 | 685-3_002 | <0.24 | <0.063 | <0.024 | 33.9958 | 14.8671 | 0.074804 | #N/A | #N/A | #N/A | 872.7747 | 5605.3096 | 2340.636 | 31979.3975 | 8277.924 | 67943.8925 | 9561.8243 | 34990.1666 | 4748.8665 | 21250.1409 | 4720.1318 | 2859.6332 | 2428.3084 | 19.2291 | 22.0548 | #N/A | #N/A | #N/A | 1868.8966 | 36636.0106 | 40355.7934 | 155617.5061 | 221334.8672 | 267495.6397 | 168936.8244 | 211420.9459 | 186230.0594 | 125000.8285 | 185831.9596 | 98608.0424 | 303538.5457 | 1.2449 | 0.32486 | 0.53447
23 | Xenotime Mineralized | GL00685 | 685-5_002 | <0.24 | <0.062 | <0.023 | 34.9238 | 14.7767 | 0.25659 | #N/A | #N/A | #N/A | <822 | 4060.3471 | 1978.6394 | 24420.2823 | 6366.8717 | 57249.6969 | 9192.6719 | 31417.6866 | 3910.9441 | 15803.4851 | 4012.4737 | 16373.6081 | 12130.0596 | 15.8413 | 18.1661 | #N/A | #N/A | #N/A | <1760 | 26538.2162 | 34114.4728 | 118833.4903 | 170237.2116 | 225392.5074 | 162414.6973 | 189834.9643 | 153370.3566 | 92961.6773 | 157971.4048 | 564607.1747 | 1516257.4459 | 1.2783 | 0.37237 | 0.60748
24 | Xenotime Mineralized | GL00685 | 685-9_002 | <0.24 | <0.063 | <0.024 | 33.4162 | 14.9325 | 0.035235 | #N/A | #N/A | #N/A | 934.3504 | 4457.5481 | 1791.311 | 32750.1184 | 7642.3096 | 71733.193 | 9369.3079 | 36170.5765 | 4336.4821 | 20450.4537 | 3759.2347 | 5904.8332 | 3914.1691 | 19.3395 | 22.1813 | #N/A | #N/A | #N/A | 2000.7504 | 29134.3016 | 30884.6729 | 159367.9726 | 204339.8299 | 282414.1458 | 165535.475 | 218553.3324 | 170058.1223 | 120296.7864 | 148001.3657 | 203614.9391 | 489271.1358 | 1.3248 | 0.41616 | 0.45325
25 | Xenotime Mineralized | GL00685 | 685-9_003 | <0.24 | <0.062 | <0.024 | 34.1726 | 14.8809 | 0.163 | #N/A | #N/A | #N/A | 1015.4997 | 5329.5331 | 1966.9569 | 29115.6929 | 6957.8419 | 64177.7087 | 8611.2755 | 32691.2826 | 4131.2629 | 17558.149 | 3153.7296 | 11320.7705 | 8347.4954 | 17.4709 | 20.0411 | #N/A | #N/A | #N/A | 2174.5176 | 34833.5497 | 33913.0494 | 141682.2041 | 186038.5525 | 252668.1446 | 152142.6766 | 197530.4084 | 162010.3087 | 103283.2291 | 124162.5836 | 390371.3972 | 1043436.921 | 1.3718 | 0.37412 | 0.48274
26 | Xenotime Mineralized | GL00685 | 685-9_004 | <0.25 | <0.063 | <0.024 | 33.4235 | 14.7878 | 0.12082 | #N/A | #N/A | #N/A | 1351.479 | 4869.8594 | 2353.3822 | 33805.2429 | 8145.0733 | 67660.1052 | 9110.1598 | 32159.5335 | 4241.1065 | 18715.9271 | 3767.7857 | 10710.5627 | 8127.5705 | 18.618 | 21.3591 | #N/A | #N/A | #N/A | 2893.9594 | 31829.1462 | 40575.5555 | 164502.3987 | 217782.7093 | 266378.3671 | 160956.8864 | 194317.4232 | 166317.9006 | 110093.6889 | 148338.0215 | 369329.748 | 1015946.3074 | 1.4942 | 0.36353 | 0.56075
27 | Xenotime matrix | GL00684 | GL00684-xt-a-2 | #N/A | #N/A | <0.015 | 34.5757 | 15.723 | 0.078169 | <219 | <190 | <511 | 958.2819 | 4519.5476 | 3311.8862 | 40452.0822 | #N/A | 56223.5702 | 10961.2902 | 29214.2626 | #N/A | 18309.1776 | 1981.9223 | 5534.2059 | 2195.8016 | 16.5932 | 19.0412 | <924 | <310 | <5379 | 2051.9954 | 29539.5269 | 57101.4855 | 196847.1151 | #N/A | 221352.6386 | 193662.3705 | 176521.2243 | #N/A | 107701.0447 | 78028.4362 | 190834.687 | 274475.2044 | 1.8277 | 0.69527 | 0.74883
28 | Xenotime matrix | GL00684 | GL00684-xt-a-5 | #N/A | #N/A | 0.3079 | 34.6819 | 15.7688 | 0.08752 | 265.3149 | 564.5377 | 842.3633 | 1829.8895 | 5396.8945 | 2430.364 | 38747.9725 | #N/A | 52196.8332 | 8994.479 | 26609.2552 | #N/A | 17434.0253 | 2911.2676 | 5050.3336 | 2683.7386 | 15.6551 | 17.9668 | 1119.472 | 922.4472 | 8866.9822 | 3918.393 | 35273.8203 | 41902.827 | 188554.6109 | #N/A | 205499.3434 | 158913.0564 | 160780.9983 | #N/A | 102553.0898 | 114616.8352 | 174149.4358 | 335467.3309 | 1.8386 | 0.51912 | 0.51381 | 0.99897
29 | Xenotime matrix | GL00684 | GL00684-xt-a-3 | #N/A | #N/A | <0.015 | 34.718 | 15.7888 | 0.074906 | <219 | 406.7007 | <510 | 1425.2747 | 4740.3067 | 4136.7314 | 40384.2538 | #N/A | 55569.8525 | 11255.7732 | 28031.5579 | #N/A | 17648.9742 | 1899.8726 | 3065.4488 | 2328.0747 | 16.5093 | 18.9479 | <924 | 664.5435 | <5368 | 3051.9801 | 30982.397 | 71322.9555 | 196517.0502 | #N/A | 218778.947 | 198865.251 | 169374.9724 | #N/A | 103817.4955 | 74798.1334 | 105705.1301 | 291009.3411 | 1.8929 | 0.36324 | 0.91405 | 0.99926
30 | Xenotime matrix | GL00684 | GL00684-xt-a-1 | #N/A | #N/A | <0.015 | 35.1837 | 15.8817 | 0.068235 | <218 | <189 | <509 | 715.2291 | 3429.5488 | 3057.8458 | 36401.3894 | #N/A | 53883.896 | 10207.6415 | 28484.0006 | #N/A | 18264.6161 | 2085.3021 | 4865.9764 | 1996.7916 | 15.6529 | 17.9584 | <920 | <309 | <5358 | 1531.5398 | 22415.3517 | 52721.4791 | 177135.7147 | #N/A | 212141.323 | 180347.0229 | 172108.7648 | #N/A | 107438.9182 | 82098.5077 | 167792.2891 | 249598.9447 | 1.6487 | 0.67225 | 0.83668 | 0.99966
31 | Xenotime matrix | GL00684 | GL00684-xt-a-6 | #N/A | #N/A | 0.23283 | 34.5776 | 15.7206 | 0.10306 | 243.8167 | 488.2602 | <510 | 1887.3374 | 5715.4276 | 3436.2636 | 39398.9395 | #N/A | 52051.6011 | 9960.7732 | 26145.1352 | #N/A | 17457.1798 | 2625.7843 | 6354.8622 | 2824.0145 | 15.8678 | 18.2131 | 1028.7626 | 797.8108 | <5368 | 4041.4076 | 37355.7361 | 59245.9235 | 191722.3333 | #N/A | 204927.5633 | 175985.3914 | 157976.6479 | #N/A | 102689.2927 | 103377.3349 | 219133.1796 | 353001.8093 | 1.867 | 0.62077 | 0.70007 | 0.9991
32 | Xenotime matrix | GL00684 | GL00684-xt-a-4 | #N/A | #N/A | <0.015 | 35.2241 | 15.8928 | 0.062076 | <218 | 567.7509 | <508 | 1929.5845 | 5686.792 | 3328.8738 | 40269.9155 | #N/A | 52192.4316 | 9310.2451 | 26086.6092 | #N/A | 16400.614 | 2487.0007 | 1981.2681 | 2312.6457 | 15.7692 | 18.1015 | <920 | 927.6975 | <5347 | 4131.8727 | 37168.5753 | 57394.3766 | 195960.6595 | #N/A | 205482.0142 | 164491.9629 | 157623.0162 | #N/A | 96474.2001 | 97913.4147 | 68319.5901 | 289080.7178 | 2.0312 | 0.23633 | 0.67251 | 0.99898
33 | Xenotime matrix | GL00685 | GL00685-xt-a-1 | #N/A | #N/A | 0.14708 | 35.0187 | 15.5141 | 0.027262 | 293.3134 | 308.0994 | <513 | 1725.5084 | 4736.3313 | 2658.1366 | 36850.408 | #N/A | 57514.1716 | 9948.1659 | 30868.8716 | #N/A | 19377.1788 | 1560.4162 | 3021.9123 | 2199.5539 | 16.5239 | 18.9599 | 1237.6094 | 503.4303 | <5400 | 3694.8789 | 30956.414 | 45829.942 | 179320.72 | #N/A | 226433.7464 | 175762.6487 | 186518.8619 | #N/A | 113983.405 | 61433.7076 | 104203.8739 | 274944.2404 | 1.5732 | 0.379 | 0.61512 | 0.99944
34 | Xenotime matrix | GL00685 | GL00685-xt-b-2 | #N/A | #N/A | 0.43772 | 32.8905 | 15.3117 | 0.071777 | <222 | <192 | <518 | 2055.2603 | 5705.1627 | 3729.2408 | 45545.1193 | #N/A | 58309.3275 | 10215.7592 | 30012.039 | #N/A | 22359.5445 | 1502.3102 | 9643.9046 | 3364.6529 | 17.9434 | 20.5938 | <937 | <314 | <5453 | 4400.9857 | 37288.645 | 64297.2548 | 221630.7509 | #N/A | 229564.2817 | 180490.4456 | 181341.6257 | #N/A | 131526.7322 | 59146.0707 | 332548.4329 | 420581.6161 | 1.6851 | 0.79069 | 0.70728 | 0.99963
35 | Xenotime matrix | GL00685 | GL00685-xt-b-1 | #N/A | #N/A | <0.015 | 34.124 | 15.6308 | 0.043772 | <221 | 538.797 | <516 | 2138.8459 | 5329.1887 | 3195.6438 | 39949.7296 | #N/A | 56742.961 | 10635.417 | 30150.9681 | #N/A | 19292.9518 | 2195.2329 | 6157.5217 | 4045.808 | 16.9631 | 19.4671 | <932 | 880.3873 | <5432 | 4579.9699 | 34831.299 | 55097.3067 | 194402.577 | #N/A | 223397.4844 | 187904.8945 | 182181.0763 | #N/A | 113487.9517 | 86426.4914 | 212328.3342 | 505725.999 | 1.713 | 0.41985 | 0.66957 | 0.999
36 | Xenotime matrix | GL00685 | GL00685-xt-c-1 | #N/A | #N/A | <0.015 | 35.5727 | 15.6196 | 0.019913 | <220 | <190 | <513 | 1092.5596 | 3823.3257 | 3567.162 | 33748.6396 | #N/A | 55614.0645 | 11359.8786 | 30710.653 | #N/A | 18397.4466 | 1080.3265 | 3493.9305 | 2615.4981 | 15.9394 | 18.2873 | <928 | <310 | <5400 | 2339.5282 | 24989.0566 | 61502.793 | 164226.9567 | #N/A | 218953.0097 | 200704.5691 | 185562.858 | #N/A | 108220.2743 | 42532.5392 | 120480.3626 | 326937.2645 | 1.5175 | 0.36851 | 0.96006 | 0.99966
37 | Xenotime matrix | GL00685 | GL00685-xt-c-3 | #N/A | #N/A | 0.26759 | 35.1378 | 15.5346 | 0.025279 | 280.5835 | 524.6239 | <513 | 1962.8841 | 4831.0528 | 3276.1838 | 34041.2978 | #N/A | 54181.6198 | 10645.2875 | 29190.1428 | #N/A | 18030.2471 | 1587.2161 | 5555.7001 | 3002.8222 | 15.7746 | 18.1015 | 1183.8965 | 857.2286 | <5400 | 4203.1779 | 31575.5085 | 56485.9274 | 165651.084 | #N/A | 213313.4636 | 188079.285 | 176375.485 | #N/A | 106060.277 | 62488.8226 | 191575.8665 | 375352.7718 | 1.5619 | 0.51039 | 0.78103 | 0.99905
38 | Xenotime matrix | GL00685 | GL00685-xt-d-1 | #N/A | #N/A | <0.015 | 34.2255 | 15.7784 | 0.051726 | 288.9876 | 673.9522 | <513 | 859.6537 | 3966.3019 | 2385.4704 | 39699.6168 | #N/A | 60758.7684 | 10626.4385 | 31769.7447 | #N/A | 20972.7242 | 2497.7086 | 1036.7658 | 1495.3644 | 17.3536 | 19.9078 | 1219.3568 | 1101.229 | <5400 | 1840.8002 | 25923.5416 | 41128.7997 | 193185.4834 | #N/A | 239207.7495 | 187746.2625 | 191962.2034 | #N/A | 123368.9656 | 98334.9845 | 35750.5442 | 186920.5498 | 1.5659 | 0.19126 | 0.58118 | 0.99875
39 | Xenotime matrix | GL00685 | GL00685-xt-d-6 | #N/A | #N/A | <0.015 | 34.4067 | 15.6721 | 0.048571 | <220 | <190 | <513 | 1040.3765 | 4596.2819 | 3657.7169 | 42883.9725 | #N/A | 59655.7421 | 10791.1581 | 29476.0209 | #N/A | 20350.5252 | 1377.4839 | 1493.2916 | 1352.3833 | 17.3829 | 19.9481 | <928 | <310 | <5400 | 2227.787 | 30041.0583 | 63064.0842 | 208681.1315 | #N/A | 234865.1262 | 190656.5037 | 178102.8452 | #N/A | 119708.9718 | 54231.6497 | 51492.8141 | 169047.912 | 1.7432 | 0.3046 | 0.79649 | 0.99965
40 | Xenotime matrix | GL00685 | GL00685-xt-d-2 | #N/A | #N/A | <0.015 | 34.0277 | 15.5286 | 0.052409 | 1418.9768 | 2512.9527 | <514 | 2591.4714 | 5652.1461 | 3704.2381 | 41736.302 | #N/A | 60671.4769 | 11502.2246 | 28991.5997 | #N/A | 18903.1929 | 2546.9376 | 1589.7821 | 1592.6238 | 17.63 | 20.2353 | 5987.2439 | 4106.1319 | <5411 | 5549.1892 | 36942.1314 | 63866.1741 | 203096.3599 | #N/A | 238864.0823 | 203219.5157 | 175175.8291 | #N/A | 111195.2521 | 100273.1353 | 54820.0721 | 199077.9723 | 1.8265 | 0.27537 | 0.73732 | 0.99534
41 | Xenotime matrix | GL00685 | GL00685-xt-d-8 | #N/A | #N/A | <0.015 | 34.1245 | 15.7065 | 0.032076 | <220 | 434.3552 | <514 | 1069.7708 | 4294.8867 | 3499.1267 | 41011.4733 | #N/A | 59649.943 | 11322.1006 | 30102.4965 | #N/A | 20945.0598 | 1748.9254 | 3334.8812 | 2259.4103 | 17.3644 | 19.9241 | <928 | 709.7307 | <5411 | 2290.7299 | 28071.1548 | 60329.7705 | 199569.2133 | #N/A | 234842.2953 | 200037.1122 | 181888.1965 | #N/A | 123206.234 | 68855.329 | 114995.9048 | 282426.2914 | 1.6198 | 0.40717 | 0.80604 | 0.99919
42 | Xenotime matrix | GL00685 | GL00685-xt-e-1 | #N/A | #N/A | <0.016 | 33.7518 | 15.6015 | 0.045826 | <221 | <191 | <515 | 1555.0568 | 4911.2689 | 4841.4909 | 43533.6091 | #N/A | 60982.1102 | 12817.3008 | 30725.1161 | #N/A | 20853.6676 | 1239.5067 | 1995.0371 | 2245.9201 | 18.1459 | 20.8253 | <932 | <312 | <5421 | 3329.8861 | 32099.7964 | 83473.9818 | 211842.38 | #N/A | 240087.0482 | 226454.0783 | 185650.2485 | #N/A | 122668.6327 | 48799.4753 | 68794.3843 | 280740.0134 | 1.7269 | 0.24505 | 1.0123 | 0.99964
43 | Monazite matrix | GL00684 | GL00684-mnz-1-1 | #N/A | #N/A | 0.08248 | 0.92476 | 12.9406 | 0.92487 | 84368.7098 | 209732.3118 | 35497.919 | 138899.9243 | 31572.5501 | 14678.7741 | 54733.1631 | #N/A | 3497.9096 | <883 | <397 | #N/A | <455 | <523 | 7174.8676 | <305 | 24.3382 | 28.2722 | 355986.1173 | 342699.8558 | 373662.3056 | 297430.2448 | 206356.5368 | 253082.3124 | 266341.4261 | #N/A | 13771.2975 | <15601 | <2399 | #N/A | <2676 | <20591 | 247409.2267 | <38125 | #N/A | >6.49 | 1.0795 | 0.064977
44 | Monazite matrix | GL00685 | GL00685-mnz-1-6 | #N/A | #N/A | <0.024 | <0.066 | 11.1878 | 0.37184 | 143514.866 | 258656.5314 | 26137.2064 | 109070.8044 | 21204.1947 | 9070.9999 | 48420.8253 | #N/A | 1735.0299 | <897 | <404 | #N/A | <462 | <533 | 14331.4287 | <313 | 18.9502 | 22.0114 | 605547.9578 | 422641.3912 | 275128.4884 | 233556.3264 | 138589.5077 | 156396.5493 | 235624.4538 | #N/A | 6830.8262 | <15848 | <2441 | #N/A | <2718 | <20984 | 494187.1962 | <39125 | #N/A | >12.63 | 0.86547 | 0.0039462
45 | Monazite matrix | GL00685 | GL00685-mnz-1-1 | #N/A | #N/A | 0.24897 | <0.066 | 11.3747 | 0.33191 | 116426.0827 | 252987.9737 | 27065.7742 | 119369.0317 | 24519.5447 | 9577.7346 | 46864.0237 | #N/A | 1797.0804 | <897 | 230.3851 | #N/A | <462 | <534 | 25347.4944 | 804.4765 | 20.2358 | 23.5097 | 491249.294 | 413379.0419 | 284902.8859 | 255608.205 | 160258.4621 | 165133.3552 | 228048.777 | #N/A | 7075.1197 | <15848 | 1392.0551 | #N/A | <2718 | <21024 | 874051.5299 | 100559.5628 | #N/A | 8.6919 | 0.86379 | 0.0040342
46 | Monazite matrix | GL00685 | GL00685-mnz-1-5 | #N/A | #N/A | <0.023 | 2.2794 | 13.0345 | 0.69371 | 96400.6334 | 218134.3023 | 22286.1695 | 107999.456 | 23581.4907 | 6189.29 | 49578.9453 | #N/A | 8085.3185 | <889 | 1554.638 | #N/A | <458 | <532 | 29579.1396 | 4887.5957 | 19.6989 | 22.8685 | 406753.7275 | 356428.5985 | 234591.258 | 231262.2183 | 154127.3901 | 106711.8968 | 241260.0746 | #N/A | 31831.9625 | <15707 | 9393.5832 | #N/A | <2694 | <20945 | 1019970.3319 | 610949.4618 | #N/A | 1.6695 | 0.55339 | 0.1414
47 | Monazite matrix | GL00685 | GL00685-mnz-1-4 | #N/A | #N/A | <0.023 | 2.2468 | 12.9394 | 0.6881 | 97164.1806 | 217591.3974 | 25529.1686 | 107100.2242 | 23434.4277 | 6709.0034 | 50311.3384 | #N/A | 6989.9844 | <890 | 1610.6911 | #N/A | <459 | <532 | 27776.57 | 6456.4388 | 19.6156 | 22.7718 | 409975.4454 | 355541.4991 | 268728.0902 | 229336.6685 | 153166.1944 | 115672.4722 | 244824.0313 | #N/A | 27519.6235 | <15724 | 9732.2725 | #N/A | <2700 | <20945 | 957812.7599 | 807054.853 | #N/A | 1.1868 | 0.59734 | 0.13996
48 | Monazite matrix | GL00685 | GL00685-mnz-1-2 | #N/A | #N/A | 0.43845 | 1.828 | 13.1327 | 0.66664 | 99066.6478 | 217547.5887 | 24674.3186 | 105709.6972 | 22671.6735 | 6041.1695 | 45679.6561 | #N/A | 6234.3772 | <888 | 1324.5194 | #N/A | <457 | <531 | 28546.5968 | 5977.677 | 18.7661 | 21.7906 | 418002.7332 | 355469.9161 | 259729.6699 | 226359.0947 | 148180.8727 | 104158.0952 | 222285.4313 | #N/A | 24544.7922 | <15689 | 8003.1383 | #N/A | <2688 | <20906 | 984365.4055 | 747209.6264 | #N/A | 1.3174 | 0.57391 | 0.11695
49 | Monazite matrix | GL00685 | GL00685-mnz-2-4 | #N/A | #N/A | <0.022 | 0.21087 | 13.0301 | 0.063201 | 176570.2444 | 261653.9908 | 22638.4379 | 73630.576 | 9005.2448 | 5111.9253 | 41386.8356 | #N/A | <419 | <880 | <397 | #N/A | <454 | <516 | 6921.616 | <303 | 12.9135 | 14.9947 | 745022.1283 | 427539.2006 | 238299.346 | 157667.1862 | 58857.8093 | 88136.6433 | 201395.7936 | #N/A | <1650 | <15548 | <2399 | #N/A | <2671 | <20315 | 238676.4125 | <37875 | #N/A | >6.3 | 0.80952 | 0.012542
50 | Monazite matrix | GL00685 | GL00685-mnz-2-1 | #N/A | #N/A | 0.58123 | <0.066 | 11.4004 | 0.35353 | 111758.4148 | 251218.5219 | 29876.6129 | 123723.7951 | 26129.7446 | 10638.6223 | 47967.2816 | #N/A | 1932.8897 | <892 | <402 | #N/A | <460 | <524 | 14212.7883 | <310 | 21.0392 | 24.4436 | 471554.4928 | 410487.7809 | 314490.6621 | 264933.1801 | 170782.6445 | 183424.5231 | 233417.4288 | #N/A | 7609.8019 | <15760 | <2429 | #N/A | <2706 | <20630 | 490096.148 | <38750 | #N/A | >12.65 | 0.91869 | 0.0040626
51 | Monazite matrix | GL00685 | GL00685-mnz-2-6 | #N/A | #N/A | <0.023 | <0.065 | 12.5993 | 0.12337 | 150000.4843 | 256625.3741 | 22686.5672 | 94863.1922 | 16913.7118 | 7903.4451 | 43334.1405 | #N/A | 855.0563 | <886 | <400 | #N/A | <457 | <521 | 13845.826 | <307 | 16.387 | 19.0342 | 632913.4358 | 419322.5067 | 238805.9701 | 203133.1738 | 110547.1358 | 136266.2955 | 210871.7297 | #N/A | 3366.3635 | <15654 | <2417 | #N/A | <2688 | <20512 | 477442.2769 | <38375 | #N/A | >12.44 | 0.89249 | 0.0039773
52 | Monazite matrix | GL00685 | GL00685-mnz-2-3 | #N/A | #N/A | 0.13761 | <0.065 | 12.5804 | 0.089717 | 188188.9536 | 258397.6164 | 18903.4597 | 65303.8338 | 8722.0079 | 4578.4992 | 36966.5792 | #N/A | 987.8023 | <886 | <400 | #N/A | <457 | <521 | 22890.4231 | <307 | 11.6559 | 13.5328 | 794046.2177 | 422218.3274 | 198983.7865 | 139836.9033 | 57006.5879 | 78939.6422 | 179886.0304 | #N/A | 3888.9854 | <15654 | <2417 | #N/A | <2688 | <20512 | 789324.9349 | <38375 | #N/A | >20.57 | 0.77953 | 0.0039501
53 | Monazite matrix | GL00685 | GL00685-mnz-2-2 | #N/A | #N/A | 0.24094 | <0.065 | 12.5623 | 0.18864 | 176479.4866 | 254819.5325 | 16092.8256 | 73935.5983 | 10926.7146 | 5166.1014 | 37717.3222 | #N/A | 1046.9138 | <887 | <400 | #N/A | <457 | <521 | 26244.5802 | <308 | 12.8793 | 14.9566 | 744639.1841 | 416371.7851 | 169398.1644 | 158320.3389 | 71416.4352 | 89070.7138 | 183539.2807 | #N/A | 4121.708 | <15671 | <2417 | #N/A | <2688 | <20512 | 904985.5239 | <38500 | #N/A | >23.51 | 0.77799 | 0.0040054
54 | Monazite matrix | GL00685 | GL00685-mnz-4-6 | #N/A | #N/A | <0.023 | <0.065 | 12.6836 | 0.26081 | 124724.5699 | 249741.3308 | 28444.903 | 109753.779 | 20368.1208 | 9842.1368 | 46871.3539 | #N/A | 1890.4964 | 708.5834 | 836.0368 | #N/A | <458 | <523 | 11110.3662 | <307 | 19.0271 | 22.0994 | 526264.0079 | 408074.07 | 299420.0312 | 235018.7987 | 133124.9722 | 169692.0131 | 228084.447 | #N/A | 7442.8992 | 12519.1416 | 5051.5817 | #N/A | <2694 | <20591 | 383116.0752 | <38375 | #N/A | >9.98 | 0.97383 | 0.0040865
55 | Monazite matrix | GL00685 | GL00685-mnz-4-1 | #N/A | #N/A | <0.023 | <0.065 | 12.5616 | 0.30481 | 119047.0552 | 247989.62 | 26738.3003 | 112432.2884 | 21940.7197 | 9279.7265 | 44431.0255 | #N/A | 1950.853 | <892 | 244.0774 | #N/A | <460 | <524 | 21496.8081 | <310 | 19.0279 | 22.1058 | 502308.2499 | 405211.7974 | 281455.7929 | 240754.3649 | 143403.3967 | 159995.2843 | 216209.3697 | #N/A | 7680.5236 | <15760 | 1474.7879 | #N/A | <2706 | <20630 | 741269.2434 | <38750 | #N/A | >19.13 | 0.90864 | 0.0041152
56 | Monazite matrix | GL00685 | GL00685-mnz-4-2 | #N/A | #N/A | 0.44308 | 1.1141 | 12.3087 | 0.77838 | 86523.4724 | 208672.1719 | 25971.0535 | 109596.1431 | 25698.5753 | 6279.5185 | 46292.1359 | #N/A | 5961.8825 | <901 | 890.4687 | #N/A | <464 | <531 | 70281.8063 | 937.0305 | 19.4719 | 22.6122 | 365077.9426 | 340967.6011 | 273379.5104 | 234681.2486 | 167964.5442 | 108267.5599 | 225265.8683 | #N/A | 23471.9784 | <15919 | 5380.4753 | #N/A | <2729 | <20906 | 2423510.5624 | 117128.8159 | #N/A | 20.691 | 0.5566 | 0.077615
57 | Monazite matrix | GL00685 | GL00685-mnz-6-2 | #N/A | #N/A | 0.76757 | 1.9091 | 11.8538 | 0.98015 | 97390.7725 | 228167.6678 | 25773.0069 | 113465.1448 | 21314.1928 | 7220.0407 | 45571.3609 | #N/A | 6415.6234 | <891 | 1710.7613 | #N/A | <459 | <532 | 29589.7413 | 1264.0395 | 19.5697 | 22.7267 | 410931.5296 | 372822.9866 | 271294.8098 | 242966.0489 | 139308.4496 | 124483.4597 | 221758.4471 | #N/A | 25258.3597 | <15742 | 10336.9265 | #N/A | <2700 | <20945 | 1020335.9071 | 158004.9353 | #N/A | 6.4576 | 0.70824 | 0.1165
58 | Monazite matrix | GL00685 | GL00685-mnz-6-3 | #N/A | #N/A | 0.96908 | 0.68512 | 12.7697 | 0.49971 | 115056.2833 | 233652.3376 | 26907.0639 | 107404.1026 | 20373.3919 | 8322.2368 | 43006.6481 | #N/A | 2567.4125 | <885 | 388.1099 | #N/A | <456 | <529 | 17025.906 | <305 | 18.2062 | 21.1498 | 485469.55 | 381784.8654 | 283232.2511 | 229987.3717 | 133159.4242 | 143486.8417 | 209278.093 | #N/A | 10107.9234 | <15636 | 2345.0749 | #N/A | <2682 | <20827 | 587100.2077 | <38125 | #N/A | >15.4 | 0.85954 | 0.044172
59 | Monazite matrix | GL00685 | GL00685-mnz-6-1 | #N/A | #N/A | 0.4956 | 1.3959 | 12.3607 | 0.77551 | 109313.7255 | 234140.5424 | 23564.5376 | 109972.2124 | 20408.4967 | 7767.6901 | 45182.6739 | #N/A | 4618.6646 | <890 | 1101.3268 | #N/A | <459 | <531 | 24080.173 | <309 | 18.9051 | 21.957 | 461239.3481 | 382582.5857 | 248047.7641 | 235486.5363 | 133388.8675 | 133925.6916 | 219867.0261 | #N/A | 18183.719 | <15724 | 6654.5423 | #N/A | <2700 | <20906 | 830350.7927 | <38625 | #N/A | >21.5 | 0.78203 | 0.08589
60 | Monazite matrix | GL00685 | GL00685-mnz-7-2 | #N/A | #N/A | <0.024 | <0.066 | 12.2788 | 0.29994 | 125248.5501 | 249103.4442 | 20011.5398 | 115257.2297 | 22741.1528 | 9210.9914 | 48712.4709 | #N/A | 2363.2876 | 256.8055 | 370.1128 | #N/A | <460 | <532 | 18389.1585 | <311 | 19.8912 | 23.1048 | 528474.895 | 407031.7716 | 210647.7877 | 246803.4896 | 148634.9856 | 158810.1972 | 237043.654 | #N/A | 9304.2818 | 4537.2003 | 2236.3313 | #N/A | <2706 | <20945 | 634108.9131 | <38875 | #N/A | >16.31 | 0.84606 | 0.0040969
61 | Monazite matrix | GL00685 | GL00685-mnz-7-3 | #N/A | #N/A | 0.22749 | 0.24788 | 12.9591 | 0.53393 | 116456.6944 | 241280.9258 | 25119.9977 | 111311.8991 | 21656.5006 | 9099.5135 | 46520.5412 | #N/A | 1566.222 | <887 | <399 | #N/A | <457 | <530 | 15867.537 | <306 | 19.0155 | 22.0901 | 491378.4574 | 394249.8787 | 264421.0286 | 238355.2442 | 141545.7555 | 156888.1646 | 226377.3293 | #N/A | 6166.2284 | <15671 | <2411 | #N/A | <2688 | <20866 | 547156.4469 | <38250 | #N/A | >14.3 | 0.87645 | 0.015933